## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Jonathan Estrada
| Total Line Items: | 81 |  |  | Work Request #: | 89700661
| Billing Period: | 07/14/2025 to 07/20/25 |  |  | Scope ID #: | R25P38
[5 empty] | Work Order #: | DCP0371393
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 709-2
Thursday (07/17/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 0
Point 02 | ANC-DHM-10-84-T1-C | Rem | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 2 |  | 0
Point 02 | ARM-8SF-GN-DL-C | Rem | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 02 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 695 |  | 0
Point 02 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 3 |  | 0
Point 03 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 549 |  | 0
Point 04 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 0
Point 05 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 522 |  | 0
Point 07 | CON-40-AAA-1-B | Rem | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 450 |  | 0
Point 09 | CON-40-AAA-1-B | Rem | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 528 |  | 0
Point 13 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 02 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 0
Point 02 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 3 |  | 0
Point 07 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Friday (07/18/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | ANC-DHM-10-84-T1-C | Inst | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 3 |  | 0
Point 01 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 01 | ARR-15-X | Inst | ARR,15kV,Transformer | EA | 3 |  | 0
Point 01 | ARR-15-X | Rem | ARR,15kV,Transformer | EA | 3 |  | 0
Point 01 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 0
Point 01 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 0
Point 01 | BKT-ATX14-S-C | Inst | BKT, Arr.Tank Mnt. Xfmr14kV,Steel,Corr | EA | 3 |  | 0
Point 01 | BKT-ATX14-S-C | Rem | BKT, Arr.Tank Mnt. Xfmr14kV,Steel,Corr | EA | 3 |  | 0
Point 01 | BKT-CMX-50-A | Inst | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 01 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 01 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 0
Point 01 | BKT-IP8-F-C | Rem | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 0
Point 01 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 3 |  | 0
Point 01 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 3 |  | 0
Point 01 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 3 |  | 0
Point 01 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 3 |  | 0
Point 01 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 3 |  | 0
Point 01 | EQL-3-4-C-10-S-X | Inst | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 0
Point 01 | EQL-3-4-C-10-S-X | Rem | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 0
Point 01 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 01 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 01 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 3 |  | 0
Point 01 | GYF-38-78W-IL-C | Inst | GYF,3/8,78"WireMt,Insltr&Link Adder,Corr | EA | 3 |  | 0
Point 01 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 0
Point 01 | GYF-38-D-78P-EP-C | Inst | GYF,3/8,Down,78in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 01 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 120 |  | 0
Point 01 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 01 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 01 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 01 | PLD-EYE-ARM-C | Inst | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 01 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 01 | SAA-DI-10-C | Inst | SAA,Dead End I Bolt,1/0,Corr | EA | 1 |  | 0
Point 01 | SAA-DI-40-C | Inst | SAA,Dead End I Bolt,4/0,Corr | EA | 1 |  | 0
Point 01 | TIE-4-CUH-15 | Inst | TIE,4 AWG,CU Hand Tie,15kV (F Neck) | EA | 8 |  | 0
Point 01 | TIE-4-CUH-15 | Rem | TIE,4 AWG,CU Hand Tie,15kV (F Neck) | EA | 8 |  | 0
Point 01 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 0
Point 01 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 0
Point 01 | XFR-50-72-240-2B-S | Tran | XFR,50KVA,7.2/12.4kVY,240/480,2BG,SS | EA | 3 |  | 0
Point 02 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 2 |  | 0
Point 02 | GYF-38-78W-I-C | Rem | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 2 |  | 0
Point 02 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 0
Point 02 | GYW-38C | Rem | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 80 |  | 0
Point 02 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 02 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 02 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 02 | POL-45-4 | Rem | Pole,45ft,Class 4 | EA | 1 |  | 0
Point 02 | SAA-DI-2-C | Rem | SAA,Dead End Clamp I Bolt,2,Corr | EA | 1 |  | 0
Point 02 | SAA-DI-4-C | Rem | SAA,Dead End I Bolt,4,Corr | EA | 1 |  | 0
Point 03 | ARM-4S-GN-C | Rem | ARM,4.5ft Single Wood,Gain,Corr | EA | 1 |  | 0
Point 03 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 03 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 03 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 0
Point 03 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 03 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 03 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 05 | ARM-3SF-GN-C | Rem | ARM,3ft Sgl. Fiberglass,Gain,Corr | EA | 1 |  | 0
Point 05 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 6 |  | 0
Point 05 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 6 |  | 0
Point 05 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 05 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 05 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 05 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 4 |  | 0
Point 05 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 4 |  | 0
Point 05 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 05 | SAA-DI-2-C | Rem | SAA,Dead End Clamp I Bolt,2,Corr | EA | 2 |  | 0
Point 05 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 09 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0