## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:47 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Marco Gonzalez
| Total Line Items: | 206 |  |  | Work Request #: | 89708709
| Billing Period: | 07/07/2025 to 07/13/25 |  |  | Scope ID #: | R25P6
[5 empty] | Work Order #: | DCP0370941
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 568-1
Tuesday (07/08/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 04 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 06 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 0 |  | 0
Point 08 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 10 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 08 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 0
Point 08 | CND-PBC336 | Inst | CND,Pri.Breaker Clamp 4/0-336MCM | EA | 6 |  | 0
Point 06 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 0
Point 06 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 8 |  | 0
Point 10 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 0
Point 10 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 6 |  | 0
TOTAL | [6 empty] | 0
Saturday (07/12/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 2 |  | 0
Point 01 | CNA-TRPSE | Inst | CNA,Pole Set Energized Line,TempRelocate | EA | 8 |  | 0
Point 01 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 01 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 0
Point 01 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 206 |  | 0
Point 01 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 5 |  | 0
Point 01 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 01 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 01 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 01 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 01 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 4 |  | 0
Point 01 | GYF-38-42W-I | Inst | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 6 |  | 0
Point 01 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 6 |  | 0
Point 01 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 240 |  | 0
Point 01 | INS-15-D-S | Inst | INS,15kV,Deadend,Polymer | EA | 8 |  | 0
Point 01 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 01 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 01 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 9 |  | 0
Point 01 | PLD-EYE-ARM | Inst | PLD, Eyebolt Deadend, Arm | EA | 3 |  | 0
Point 01 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 01 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 4 |  | 0
Point 01 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 01 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 01 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 01 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 0
Point 01 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 02 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 4 |  | 0
Point 02 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 2 |  | 0
Point 02 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 02 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 0
Point 02 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 234 |  | 0
Point 02 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 5 |  | 0
Point 02 | DEC-795AL | Rem | DEC,#477 - #795 AL,AS | EA | 3 |  | 0
Point 02 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 02 | EQL-1-4-C-4-C-LC1 | Rem | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 02 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 4 |  | 0
Point 02 | GYF-38-42W-I | Rem | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 6 |  | 0
Point 02 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 6 |  | 0
Point 02 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 240 |  | 0
Point 02 | INS-15-D-S | Rem | INS,15kV,Deadend,Polymer | EA | 8 |  | 0
Point 02 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 02 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 02 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 02 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 12 |  | 0
Point 02 | PLD-EYE-ARM | Rem | PLD, Eyebolt Deadend, Arm | EA | 3 |  | 0
Point 02 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 02 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 4 |  | 0
Point 02 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 02 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 02 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 02 | SWI-15-CO1-100-H | Rem | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 0
Point 02 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 03 | ALB-W-8-S-1-A | Tran | ALB,Wood,8ft,Steel,1P,Area | EA | 1 |  | 0
Point 03 | ALT-100-SOP | Tran | ALT,100,Sodium,Open,120,SlipFit, pkg | EA | 1 |  | 0
Point 03 | ALT-LED-RW-T3-8L-SF | Inst | 8500L LED, Type 3, Roadway,Slipfit | EA | 1 |  | 0
Point 03 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 03 | CNA-TRPSE | Inst | CNA,Pole Set Energized Line,TempRelocate | EA | 1 |  | 0
Point 03 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 0
Point 03 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 03 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 03 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 03 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 03 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 138 |  | 0
Point 03 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 03 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 03 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 03 | GND-LG-AL | Tran | GND,Lug,Area Lt | EA | 1 |  | 0
Point 03 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 03 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 03 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 03 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 03 | PLD-EYE-ARM | Inst | PLD, Eyebolt Deadend, Arm | EA | 1 |  | 0
Point 03 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 03 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 2 |  | 0
Point 03 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 5 |  | 0
Point 03 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 5 |  | 0
Point 03 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 5 |  | 0
Point 03 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 0
Point 03 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 1 |  | 0
Point 03 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 03 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 03 | XFR-75-72-120-1B | Tran | XFR,75KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 0
Point 04 | ALT-100-SOP | Rem | ALT,100,Sodium,Open,120,SlipFit, pkg | EA | 1 |  | 0
Point 04 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 04 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 178 |  | 0
Point 04 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 04 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 04 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 04 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 04 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 04 | PLD-EYE-ARM | Rem | PLD, Eyebolt Deadend, Arm | EA | 1 |  | 0
Point 04 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 04 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 2 |  | 0
Point 04 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 5 |  | 0
Point 04 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 5 |  | 0
Point 04 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 5 |  | 0
Point 04 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 05 | CNA-TR | Inst | CNA,Transfer Conductor | EA | 4 |  | 0
Point 05 | CNA-TRPSE | Inst | CNA,Pole Set Energized Line,TempRelocate | EA | 1 |  | 0
Point 05 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 115 |  | 0
Point 05 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 0
Point 05 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 05 | DEG-4-DP | Inst | DEG,#4,DuPlex | EA | 1 |  | 0
Point 05 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 05 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 05 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 05 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 05 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 05 | PLD-EYE-ARM | Inst | PLD, Eyebolt Deadend, Arm | EA | 1 |  | 0
Point 05 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 4 |  | 0
Point 05 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 0
Point 05 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 05 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 3 |  | 0
Point 05 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 05 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 1 |  | 0
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 146 |  | 0
Point 06 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 06 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 2 |  | 0
Point 06 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 1 |  | 0
Point 06 | GYF-38-42W-I | Rem | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 1 |  | 0
Point 06 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 06 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 40 |  | 0
Point 06 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 06 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 06 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 06 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 06 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 4 |  | 0
Point 06 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 06 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 3 |  | 0
Point 06 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 06 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 07 | CNA-TR | Inst | CNA,Transfer Conductor | EA | 1 |  | 0
Point 07 | CNA-TRPSE | Inst | CNA,Pole Set Energized Line,TempRelocate | EA | 1 |  | 0
Point 07 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 75 |  | 0
Point 07 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 07 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 07 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 07 | PAA-40AL | Inst | PAA,#1/0 - #4/0 AA,AL,AS | EA | 1 |  | 0
Point 07 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 07 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 07 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 1 |  | 0
Point 08 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 75 |  | 0
Point 08 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 08 | GYF-38-42W-I | Rem | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 1 |  | 0
Point 08 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 08 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 40 |  | 0
Point 08 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 08 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 08 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 08 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 08 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 1 |  | 0
Point 09 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 09 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 09 | CNA-TR | Inst | CNA,Transfer Conductor | EA | 3 |  | 0
Point 09 | CNA-TRPSE | Inst | CNA,Pole Set Energized Line,TempRelocate | EA | 1 |  | 0
Point 09 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 0
Point 09 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 09 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 09 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 09 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 09 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 92 |  | 0
Point 09 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 0
Point 09 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 09 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 09 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 09 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 09 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 09 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 09 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 09 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 09 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 0
Point 09 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 09 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 3 |  | 0
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 09 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 09 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 09 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 2 |  | 0
Point 09 | XFR-50-72-120-1B | Inst | XFR,50KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 0
Point 09 | XFR-50-72-120-1B | Rem | XFR,50KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 0
Point 10 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 10 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 10 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 10 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 129 |  | 0
Point 10 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 10 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 2 |  | 0
Point 10 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 10 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 10 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 0
Point 10 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 10 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 10 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 10 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 3 |  | 0
Point 10 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 10 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
TOTAL | [6 empty] | 0