## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Devin Carriere
| Total Line Items: | 70 |  |  | Work Request #: | 89713058
| Billing Period: | 08/11/2025 to 08/17/25 |  |  | Scope ID #: | R25P16
[5 empty] | Work Order #: | DCP0371565
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 820-1
Monday (08/11/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | UGND-TAG-C | Rem | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 0 |  | 0
Point 26 | UPTM-SO-2-15 | Rem | UPTM,Shrink Outdoor,2,15kV | EA | 0 |  | 0
Point 26 | URSG-D-200 | Rem | URSG,Distr,1.75in to 2.00in | EA | 0 |  | 0
Point 26 | URSG-D-CP | Rem | URSG,Distr,Cable Postioner | EA | 0 |  | 0
Point 26 | URSR-3-DSO | Rem | URSR,3in,Dist Stand Off | EA | 0 |  | 0
TOTAL | [6 empty] | 0
Tuesday (08/12/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 4 |  | 0
Point 01 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 0
Point 01 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 3 |  | 0
Point 01 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 3 |  | 0
Point 01 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 3 |  | 0
Point 01 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 3 |  | 0
Point 01 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 0
Point 11 | BKT-AC24-F-C | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls,Corr | EA | 1 |  | 0
Point 11 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 11 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 0
Point 11 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 11 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 11 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 3 |  | 0
Point 11 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 11 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 2 |  | 0
Point 11 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 11 | USVC-TRS | Tran | USVC,Terminate Service at Source | EA | 1 |  | 0
Point 11 | USVC-VA | Inst | USVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 11 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 11 | XFR-25-72-120-1B-S | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 12 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 12 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 12 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 1 |  | 0
Point 12 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 12 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 12 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 12 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 12 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 0 |  | 0
Point 12 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 2 |  | 0
Point 12 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 12 | SVD-SG10 | Rem | SVD, Service Grip, 1/0 | EA | 3 |  | 0
Point 12 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 12 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 11 | XFR-25-72-120-1B-S | Rem | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 11 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 1 |  | 0
Point 12 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 2 |  | 0
12 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 12 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 20 |  | 0
TOTAL | [6 empty] | 0
Wednesday (08/13/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 12 | URSR-3-SSO | Rem | URSR,3in,Service,Stand Off | EA | 0 |  | 0
Point 12 | USVC-NTS-10 | Rem | USVC, Non Tension Splice,1/0 | EA | 0 |  | 0
Point 12 | USVC-NTS-40 | Rem | USVC, Non Tension Splice,4/0 | EA | 0 |  | 0
Point 12 | USVC-VA | Rem | USVC-Virtual Asset Capitalization | EA | 0 |  | 0
Point 03 | SVD-SG40 | Inst | SVD, Service Grip, 4/0 | EA | 3 |  | 0
Point 03 | SVD-SG40 | Rem | SVD, Service Grip, 4/0 | EA | 3 |  | 0
Point 03 | SVC-40-QD-ALA-CM | Trans | SVC,4/0,Quad,Alum/Aly Neut,Comm | EA | 3 |  | 0
Point 11 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 11 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 11 | CNC-HTA3-10 | Inst | Compression Conn H-Tap Assembly 3ph 1/0 | EA | 15 |  | 0
Point 11 | SVC-2-TP-AAL-RS | Trans | SVC,#2 AWG,Trip,All Alum,Res | EA | 3 |  | 0
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 13 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 13 | CNC-HTA3-10 | Inst | Compression Conn H-Tap Assembly 3ph 1/0 | EA | 6 |  | 0
Point 13 | CNC-HTA3-10 | Rem | Compression Conn H-Tap Assembly 3ph 1/0 | EA | 6 |  | 0
Point 13 | SVC-2-TP-AAL-RS | Trans | SVC,#2 AWG,Trip,All Alum,Res | EA | 3 |  | 0
Point 17 | SVC-40-QD-ALA-CM | Trans | SVC,4/0,Quad,Alum/Aly Neut,Comm | EA | 1 |  | 0
Point 17 | SVD-SG40 | Inst | SVD, Service Grip, 4/0 | EA | 1 |  | 0
Point 17 | SVD-SG40 | Rem | SVD, Service Grip, 4/0 | EA | 1 |  | 0
Point 21 | SVC-10-TP-AAL-RS | Trans | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 0
Point 21 | SVD-SG10 | Rem | SVD, Service Grip, 1/0 | EA | 2 |  | 0
Point 21 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 2 |  | 0
Point 21 | CNC-HTA3-10 | Inst | Compression Conn H-Tap Assembly 3ph 1/0 | EA | 4 |  | 0
Point 27 | SVC-40-QD-ALA-CM | Trans | SVC,4/0,Quad,Alum/Aly Neut,Comm | EA | 3 |  | 0
Point 27 | SVD-SG40 | Inst | SVD, Service Grip, 4/0 | EA | 3 |  | 0
Point 27 | SVD-SG40 | Rem | SVD, Service Grip, 4/0 | EA | 3 |  | 0
Point 27 | CNC-HTA3-10 | Inst | Compression Conn H-Tap Assembly 3ph 1/0 | EA | 6 |  | 0
TOTAL | [6 empty] | 0