## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Karl Guidroz
| Total Line Items: | 108 |  |  | Work Request #: | 89732091
| Billing Period: | 07/28/2025 to 08/03/25 |  |  | Scope ID #: | R25P11
[5 empty] | Work Order #: | DCP0371513
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 704-1
Monday (07/28/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 01 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 0
Point 01 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 0
Point 01 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 01 | GYF-38-78W-I-C | Inst | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 2 |  | 0
Point 01 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 0
Point 01 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 80 |  | 0
Point 01 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 0
Point 01 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 01 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 0
Point 01 | PLD-EYE-ARM-C | Inst | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 01 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 0
Point 01 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 36 |  | 0
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 02 | ARM-8SF-GN-DL-C | Rem | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 02 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 0
Point 02 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 02 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 0
Point 13 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 0
Point 14 | POL-35-5 | Rem | Pole,35ft,Class 5 | EA | 1 |  | 0
Point 17 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 2 |  | 0
Point 15 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 07 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 17 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Tuesday (07/29/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 05 | EQL-3-4-C-10-S-X | Inst | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 0
Point 05 | XFR-10-72-120-1B-S | Inst | XFR,10KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 05 | XFR-50-72-120-1B-S | Inst | XFR,50KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Wednesday (07/30/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 204 |  | 0
Point 02 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 0
Point 02 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 684 |  | 0
Point 02 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 0
Point 02 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 0
Point 02 | GYW-38C | Rem | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 80 |  | 0
Point 02 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 2 |  | 0
Point 02 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 02 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 03 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 0
Point 03 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 03 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 218 |  | 0
Point 03 | CON-10-AAA-3-P | Inst | CON,#1/0 AWG,Alum Alloy,Three,Poly | FT | 109 |  | 0
Point 03 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 03 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 03 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 03 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 04 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 0
Point 04 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 04 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 738 |  | 0
Point 04 | EQL-1-4-C-10-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,1/0,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 04 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 04 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 0
Point 04 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 04 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 05 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 2 |  | 0
Point 05 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 2 |  | 0
Point 05 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 06 | ARM-8D-60S | Rem | ARM,8ft Double Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 06 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 0
Point 06 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 2 |  | 0
Point 06 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 2 |  | 0
Point 06 | CON-2-AAA-1-B | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Coils | FT | 74 |  | 0
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 74 |  | 0
Point 06 | EQL-3-4-C-10-S-X | Rem | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 0
Point 06 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 06 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 06 | GYW-38C | Rem | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 40 |  | 0
Point 06 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 06 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 06 | POL-40-R | Rem | POL,40ft,Remove | EA | 1 |  | 0
Point 03 | CNA-TM | Rem | CNA,Trim Trees Minor | EA | 1 |  | 0
Point 01 | CNA-SWITCH | Rem | CNA,Overhead Switching | EA | 2 |  | 0
Point 03 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 2 |  | 0
Point 01 | PLA-ROCK | Inst | PLA,Rock Hole | EA | 1 |  | 0
Point 03 | PLA-ROCK | Inst | PLA,Rock Hole | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Thursday (07/31/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 0
Point 01 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 0
Point 02 | ARM-8SF-GN-TL | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 02 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 2 |  | 0
Point 02 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 02 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 2 |  | 0
Point 02 | EQL-1-4-C-4-C-LC1 | Rem | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 02 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 02 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 03 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 03 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 03 | EQL-1-4-C-10-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,1/0,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 03 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 03 | XFR-25-72-120-1B-S | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 04 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 04 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 04 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 04 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 05 | ALB-W-18-A-1-F | Tran | ALB,Wood mnt,18 in ,Alum,1Pos, Flood | EA | 1 |  | 0
Point 05 | ALT-LED-FL-76-18L-SF-BK | Tran | 18.8kL LED,7x6 Slipfit,cable-back ,Flood | EA | 1 |  | 0
Point 05 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 05 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 0
Point 06 | ARM-BR-60S | Rem | ARM,Brace only Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 06 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 1 |  | 0
Point 06 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 3 |  | 0
Point 06 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 2 |  | 0
Point 06 | SAA-DI-10-C | Rem | SAA,Dead End I Bolt,1/0,Corr | EA | 2 |  | 0
Point 06 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 0
Point 01 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 05 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 18 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 3 |  | 0
TOTAL | [6 empty] | 0