## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Karl Guidroz
| Total Line Items: | 36 |  |  | Work Request #: | 89732091
| Billing Period: | 08/04/2025 to 08/10/25 |  |  | Scope ID #: | R25P11
[5 empty] | Work Order #: | DCP0371513
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 704-1
Thursday (08/07/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 05 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 2 |  | 0
Point 01 | CNC-SNB-10 | Inst | CNC,Splice Non-Tension Bare,#336-#1033 | EA | 1 |  | 0
Point 01 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 3 |  | 0
Point 01 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 01 | CND-SA10 | Inst | CND,Stirrup,Ampact,1/0 | EA | 2 |  | 0
Point 01 | CON-10-AAA-3-P | Inst | CON,#1/0 AWG,Alum Alloy,Three,Poly | FT | 102 |  | 0
Point 01 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 01 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 01 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 2 |  | 0
Point 01 | JPR-10-AAA-1-B | Inst | JPR,#1/0 AWG,Alum Alloy,One,Bare | EA | 2 |  | 0
Point 01 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 01 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 1 |  | 0
Point 01 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 0
Point 01 | SVD-3-CV-C | Tran | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 02 | ANC-SHM-10-84-T1-C | Rem | ANC,Sgl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 0
Point 02 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 02 | GYF-38-42W-I-C | Rem | GYF,3/8,42In Wire Mt,InsulatorAdder,Corr | EA | 1 |  | 0
Point 02 | GYF-38-78W-I-C | Rem | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 1 |  | 0
Point 02 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 02 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 2 |  | 0
Point 02 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 30 |  | 0
Point 03 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 03 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 04 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 04 | XFR-25-72-120-1B-S | Rem | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 05 | LTD-APEC1KHM | Tran | LTD,Ar Lt,Ph Elec Cntr,1000W,Ht ProtMult | EA | 1 |  | 0
Point 05 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 05 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 0
Point 05 | SVD-3-CV | Tran | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 06 | ANC-SHM-10-84-T1-C | Rem | ANC,Sgl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 0
Point 06 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 06 | GYF-38-78W-I-C | Rem | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 1 |  | 0
Point 01 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 2 |  | 0
Point 01 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 8 |  | 0
TOTAL | [6 empty] | 0
Friday (08/08/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 05 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 8 |  | 0
Point 01 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 8 |  | 0
TOTAL | [6 empty] | 0