## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Abraham Hernandez
| Total Line Items: | 171 |  |  | Work Request #: | 89763663
| Billing Period: | 08/04/2025 to 08/10/25 |  |  | Scope ID #: | R25P35
[5 empty] | Work Order #: | DCP0371678
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 287-1
Monday (08/04/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 26 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 02 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 630 |  | 0
Point 04 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 221 |  | 0
Point 06 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 373 |  | 0
Point 08 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 613 |  | 0
Point 10 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 677 |  | 0
Point 13 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 679 |  | 0
Point 16 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 698 |  | 0
Point 18 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 649 |  | 0
Point 21 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 666 |  | 0
Point 23 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 297 |  | 0
Point 25 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 509 |  | 0
Point 26 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 2 |  | 0
Point 26 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Tuesday (08/05/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 28 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 28 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 30 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 30 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 32 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 32 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 27 | ANC-DHM-10-84-T1-C | Rem | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 2 |  | 0
Point 27 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 2 |  | 0
Point 27 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 3 |  | 0
Point 27 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 120 |  | 0
Point 28 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 3 |  | 0
Point 28 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 3 |  | 0
Point 28 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 0
Point 28 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 120 |  | 0
Point 28 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 6 |  | 0
Point 28 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 0
Point 30 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 0
Point 31 | BKT-PI24-F-C | Rem | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 31 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 31 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 31 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 31 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 31 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 32 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Wednesday (08/06/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 33 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 33 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 35 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 35 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 33 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 33 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 0
Point 34 | BKT-PI18-F | Rem | BKT,Pin insulator 18in,Fbrgls | EA | 2 |  | 0
Point 34 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 34 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 34 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 0
Point 34 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 35 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Thursday (08/07/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 37 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 37 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 26 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 2 |  | 0
Point 26 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 0
Point 26 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 120 |  | 0
Point 26 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 6 |  | 0
Point 26 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 8 |  | 0
Point 28 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 3 |  | 0
Point 30 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 30 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 30 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 32 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 32 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 32 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 33 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 33 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 35 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 0
Point 35 | BKT-CMX-50-A | Inst | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 35 | EQL-3-4-C-35-S-X | Inst | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 0
Point 35 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 2 |  | 0
Point 35 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 0
Point 35 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 35 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 0
Point 35 | XFR-50-72-120-2B-S | Trans | XFR,50KVA,7.2/12.4kVY,120/240,2BG,SS | EA | 3 |  | 0
Point 36 | ARR-10-X | Rem | ARR,10kV,Transformer | EA | 3 |  | 0
Point 36 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 0
Point 36 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 36 | BKT-IP8-F | Rem | BKT,Insulator Post 8in,Fbrgls | EA | 1 |  | 0
Point 36 | BKT-PI24-F-C | Rem | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 36 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 3 |  | 0
Point 36 | CND-SA477 | Rem | CND,Stirrup,Ampact 477 | EA | 3 |  | 0
Point 36 | EQL-3-4-C-40-S-X | Rem | EQL,3 Ph,#4,CU Sol,4/0,CU Str,Xfr | EA | 1 |  | 0
Point 36 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 0
Point 36 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 0
Point 36 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 36 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 36 | POL-35-6 | Rem | Pole,35ft,Class 6 | EA | 1 |  | 0
Point 36 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 36 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 36 | TIE-4-CUH-15 | Rem | TIE,4 AWG,CU Hand Tie,15kV (F Neck) | EA | 8 |  | 0
Point 36 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 0
Point 36 | XFR-50-72-120-2B | Rem | XFR,50KVA,7.2/12.4kVY,120/240,2BG | EA | 3 |  | 0
Point 37 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 0
Point 37 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 0
Point 37 | DEG-10-SPA | Inst | DEG,1/0,Slack Span Alum | EA | 2 |  | 0
Point 37 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 37 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 37 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 37 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 37 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 0
Point 37 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 37 | XFR-10-72-240-2B | Tran | XFR,10KVA,7.2/12.4kVY,240/480,2BG | EA | 1 |  | 0
Point 38 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 38 | BKT-PLT18-EHD-A | Rem | BKT,Platform 18ft,EHD,Alum | EA | 2 |  | 0
Point 38 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 2 |  | 0
Point 38 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 38 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 0
Point 38 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 38 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 38 | POL-40-3 | Rem | Pole,40ft,Class 3 | EA | 1 |  | 0
Point 38 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 3 |  | 0
Point 38 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 39 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 0 |  | 0
Point 39 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 0 |  | 0
Point 39 | SWI-25-HGLV-900-H-C | Inst | SWI,35KV,Vert.GOLB Hook,900A,Hook Op,Cor | EA | 0 |  | 0
Point 39 | UCDT-CPL-6-P40-D | Tran | UCDT,Coupling,6in,PVC 40,Distr | EA | 0 |  | 0
Point 39 | UCDT-VNT-6-AL-D | Tran | UCDT,Vent,6",Alum,Dist | EA | 0 |  | 0
Point 39 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 0 |  | 0
Point 39 | UPTM-BO-750-15 | Tran | UPTM,Bolted Outdoor,750,15kV | EA | 0 |  | 0
Point 39 | URSG-D-500 | Tran | URSG,Distr,4.500 in to 4.99in | EA | 0 |  | 0
Point 39 | URSG-D-CP | Tran | URSG,Distr,Cable Postioner | EA | 0 |  | 0
Point 39 | URSR-6-DSO-C | Tran | URSR,6in,Dist.,Stand Off,Corr | EA | 0 |  | 0
Point 40 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 40 | SWI-25-UHD1-900-H-C | Rem | SWI,25kV,Underhng 1PH,900A,Poly,HK,Corr | EA | 0 |  | 0
TOTAL | [6 empty] | 0
Friday (08/08/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 29 | DEG-556-SPA | Inst | DEG,556,Slack Span Alum | EA | 3 |  | 0
Point 28 | DEG-40-SPA | Inst | DEG,4/0,Slack Span Alum | EA | 1 |  | 0
Point 39 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 39 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 0
Point 28 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 3 |  | 0
Point 28 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 28 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 29 | BKT-PI18-F-C | Rem | BKT,Pin insulator 18in,Fbrgls,Corr | EA | 1 |  | 0
Point 38 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 38 | CND-SB556 | Rem | CND,Stirrup Bolted 556MCM | EA | 1 |  | 0
Point 39 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 3 |  | 0
Point 39 | ARM-3SF-GN-C | Inst | ARM,3ft Sgl. Fiberglass,Gain,Corr | EA | 1 |  | 0
Point 39 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 3 |  | 0
Point 39 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 39 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 3 |  | 0
Point 39 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 0
Point 39 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 120 |  | 0
Point 39 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 39 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 0
Point 39 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 39 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 4 |  | 0
Point 39 | PLD-EYE-ARM-C | Inst | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 39 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 2 |  | 0
Point 39 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 0
Point 40 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 3 |  | 0
Point 40 | ARM-3SF-GN-C | Rem | ARM,3ft Sgl. Fiberglass,Gain,Corr | EA | 1 |  | 0
Point 40 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 0 |  | 0
Point 40 | BKT-AC183PH-F | Rem | BKT,Riser Arrestor/Term 18in 3Ph,Fbrgls | EA | 0 |  | 0
TOTAL | [6 empty] | 0
Saturday (08/09/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 6 |  | 0
Point 27 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 39 |  | 0
Point 29 | ANC-DHM-8-84-T1-C | Rem | ANC,Dbl Hlx Mach,8in,84in,TpEye 1in,Cor | EA | 3 |  | 0
Point 29 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 212 |  | 0
Point 31 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 279 |  | 0
Point 34 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 185 |  | 0
Point 36 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 26 |  | 0
Point 38 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 31 |  | 0
Point 40 | EQL-3-50-S-50-S-SWT | Rem | EQL,3 Ph,500,Str,500,Str,600a Swt | EA | 1 |  | 0
Point 40 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 40 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 2 |  | 0
Point 40 | GYF-12-D-78P-EP | Rem | GYF,1/2,Down,78in Pole mt,EyePlate | EA | 2 |  | 0
Point 40 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 40 | GYW-12 | Rem | GYW,1/2 in. EHS (26,900 lbs) | FT | 80 |  | 0
Point 40 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 40 |  | 0
Point 40 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 40 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 40 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 2 |  | 0
TOTAL | [6 empty] | 0