## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Jose Rosenbaun Jr.
| Total Line Items: | 103 |  |  | Work Request #: | 89830464
| Billing Period: | 07/21/2025 to 07/27/25 |  |  | Scope ID #: | R25P146
[5 empty] | Work Order #: | DCP0371577
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 570-1
Wednesday (07/23/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 17 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 17 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 17 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 4 |  | 0
Point 17 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 1 |  | 0
Point 17 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 5 |  | 0
Point 17 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 17 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 2 |  | 0
Point 17 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 0
Point 17 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 18 | DEG-2-SNA | Rem | DEG,#2,Secondary Neutral Al | EA | 1 |  | 0
Point 18 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 1 |  | 0
Point 18 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 18 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 18 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 18 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 18 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
TOTAL | [6 empty] | 0
Thursday (07/24/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 25 | CNA-SWITCH | Inst | CNA,Overhead Switching | EA | 8 |  | 0
Point 23 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 0
Point 23 | SVC-10-TP-AAA-RS | Trans | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 0
Point 23 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 10 |  | 0
Point 23 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 23 | SVC-10-TP-AAA-RS | Trans | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 0
Point 24 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 23 | ANC-DHM-10-84-D1 | Inst | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 0 |  | 0
Point 23 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 0
Point 23 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 23 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 23 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 23 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 0
Point 23 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 23 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 1 |  | 0
Point 23 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 4 |  | 0
Point 23 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 23 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 6 |  | 0
Point 23 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 2 |  | 0
Point 23 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 23 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 23 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 7 |  | 0
Point 24 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 10 |  | 0
Point 24 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 1 |  | 0
Point 24 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 5 |  | 0
Point 24 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 0 |  | 0
Point 24 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 6 |  | 0
Point 25 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 25 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 25 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 0
Point 25 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 1 |  | 0
Point 25 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Friday (07/25/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 16 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 13 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 15 |  | 0
Point 15 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 5 |  | 0
Point 17 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 14 |  | 0
Point 17 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 13 | ALB-W-18-A-1-F | Tran | ALB,Wood mnt,18 in ,Alum,1Pos, Flood | EA | 1 |  | 0
Point 13 | ALT-400-HFMSGL | Tran | 400W MultiVolt MH Fldlt,Slipfit,Grey,Pul | EA | 1 |  | 0
Point 13 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 13 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 13 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 0
Point 13 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 13 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 13 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 13 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 13 | LTD-APEC1KHM | Tran | LTD,Ar Lt,Ph Elec Cntr,1000W,Ht ProtMult | EA | 2 |  | 0
Point 13 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 13 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 0 |  | 0
Point 13 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 13 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 3 |  | 0
Point 13 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 4 |  | 0
Point 13 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 4 |  | 0
Point 13 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 2 |  | 0
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 4 |  | 0
Point 13 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 13 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 13 | XFR-25-72-120-1B | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 0
Point 14 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 14 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 14 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 1 |  | 0
Point 14 | EQL-1-4-C-2-S-X | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 0
Point 14 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 14 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 14 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 0 |  | 0
Point 14 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 14 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 14 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 15 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 15 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 15 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 15 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 15 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 15 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 5 |  | 0
Point 15 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 0
Point 15 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 15 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 15 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 0
Point 15 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 16 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 16 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 16 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 4 |  | 0
Point 16 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 0 |  | 0
Point 16 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 4 |  | 0
Point 16 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 17 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 0 |  | 0
TOTAL | [6 empty] | 0