## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Jesus Zarate
| Total Line Items: | 163 |  |  | Work Request #: | 89866468
| Billing Period: | 08/04/2025 to 08/10/25 |  |  | Scope ID #: | R25P80
[5 empty] | Work Order #: | DCP0371894
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 892-1
Thursday (08/07/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 09 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 21 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 11 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 13 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 15 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 09 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 09 | DEG-4-PNA | Inst | DEG,#4,Primary Neutral Al | EA | 2 |  | 0
Point 09 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 09 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 09 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 09 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 09 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 09 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 09 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 09 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 09 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 09 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 10 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 10 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 10 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 10 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 10 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 10 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 10 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 10 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 10 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 11 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 11 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 1 |  | 0
Point 11 | DEG-4-DP | Inst | DEG,#4,DuPlex | EA | 1 |  | 0
Point 11 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 11 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 11 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 11 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 3 |  | 0
Point 11 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 11 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 11 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 11 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 11 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 11 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 11 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 12 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 12 | DEG-10-PNA | Rem | DEG,1/0,Primary Neutral Al | EA | 1 |  | 0
Point 12 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 2 |  | 0
Point 12 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 12 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 12 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 0
Point 12 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 2 |  | 0
Point 12 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 12 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 13 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 13 | BKT-AC24-F | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls | EA | 1 |  | 0
Point 13 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 13 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 13 | DEG-4-PNA | Inst | DEG,#4,Primary Neutral Al | EA | 1 |  | 0
Point 13 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 13 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 13 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 13 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 13 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 13 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 2 |  | 0
Point 13 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 13 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 13 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 0
Point 13 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 13 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 13 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 13 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 14 | ALB-W-30-A-1-A | Rem | ALB,Wood,30in,Alum,1P,Area | EA | 1 |  | 0
Point 14 | ALT-100-SOP | Rem | ALT,100,Sodium,Open,120,SlipFit, pkg | EA | 1 |  | 0
Point 14 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 14 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 14 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 14 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 14 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 3 |  | 0
Point 14 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 14 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 14 | GND-LG-AL | Rem | GND,Lug,Area Lt | EA | 1 |  | 0
Point 14 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 14 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 14 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 14 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 14 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 1 |  | 0
Point 14 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 14 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 14 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 15 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 15 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 15 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 15 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 15 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 15 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 16 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 16 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 16 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 16 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 0
Point 16 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 18 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 19 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 19 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 19 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 19 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 19 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 19 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 20 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 20 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 20 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 20 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 21 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 11 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 21 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 21 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 21 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 22 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 22 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 22 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 22 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
TOTAL | [6 empty] | 0
Sunday (08/10/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 15 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 12 |  | 0
Point 15 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 5 |  | 0
Point 13 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 5 |  | 0
Point 09 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 3 |  | 0
Point 13 | GND-LG-AL | Inst | GND,Lug,Area Lt | EA | 1 |  | 0
Point 13 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 15 | BKT-AC243PH-F | Inst | BKT,Arrestor/CO 24in (3Ph),Fbrgls | EA | 3 |  | 0
Point 15 | BKT-CMX-50-A | Inst | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 15 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 0
Point 15 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 3 |  | 0
Point 15 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 3 |  | 0
Point 15 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 0
Point 15 | EQL-3-4-C-35-S-X | Inst | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 0
Point 15 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 15 | GND-MD | Inst | GND,Wire Mldg Only | EA | 1 |  | 0
Point 15 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 15 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 15 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 15 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 15 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 3 |  | 0
Point 16 | BKT-AC183PH-F | Rem | BKT,Riser Arrestor/Term 18in 3Ph,Fbrgls | EA | 1 |  | 0
Point 16 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 0
Point 16 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 3 |  | 0
Point 16 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 3 |  | 0
Point 16 | DEG-10-PNA | Rem | DEG,1/0,Primary Neutral Al | EA | 2 |  | 0
Point 16 | EQL-3-4-C-35-S-X | Rem | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 0
Point 16 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 16 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 0
Point 16 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 16 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 16 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 3 |  | 0
Point 17 | ALB-W-18-A-1-F | Inst | ALB,Wood mnt,18 in ,Alum,1Pos, Flood | EA | 1 |  | 0
Point 17 | ALT-LED-FL-76-18L-SF-TN | Inst | 18.8kL LED,7x6 SlipFt, cable-tenon,Flood | EA | 1 |  | 0
Point 27 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 27 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 27 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 27 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 27 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 27 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 2 |  | 0
Point 27 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 28 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 28 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 28 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 28 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 28 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
TOTAL | [6 empty] | 0