## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:49 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Jesus Zarate
| Total Line Items: | 212 |  |  | Work Request #: | 89866468
| Billing Period: | 08/11/2025 to 08/17/25 |  |  | Scope ID #: | R25P80
[5 empty] | Work Order #: | DCP0371894
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 892-1
Monday (08/11/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 17 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 31 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 17 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 17 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 17 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 17 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 17 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 18 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 18 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 29 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 29 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 29 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 29 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 29 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 29 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
Point 30 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 30 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 30 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 30 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 31 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 31 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 31 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 31 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 31 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 31 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 32 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 32 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 32 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 3 |  | 0
Point 32 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 24 |  | 0
TOTAL | [6 empty] | 0
Tuesday (08/12/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 23 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 0
Point 23 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 8 |  | 0
Point 27 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 23 | ARM-8SF-GN-DL | Inst | ARM,8ft Sgl.Fiberglass,Gain,DE Light | EA | 1 |  | 0
Point 23 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
Point 23 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 6 |  | 0
Point 23 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 4 |  | 0
Point 23 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 1 |  | 0
Point 23 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 23 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 0
Point 23 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 23 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 23 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 0
Point 23 | JPR-10-AAA-1-B | Inst | JPR,#1/0 AWG,Alum Alloy,One,Bare | EA | 3 |  | 0
Point 23 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 23 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 4 |  | 0
Point 23 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 23 | PLD-EYE-ARM | Inst | PLD, Eyebolt Deadend, Arm | EA | 2 |  | 0
Point 23 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 23 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 23 | SAA-CL-336 | Inst | SAA,Susp Clamp Light Angle,336 | EA | 1 |  | 0
Point 23 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 0
Point 23 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 36 |  | 0
Point 24 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 0
Point 24 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 3 |  | 0
Point 24 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 2 |  | 0
Point 24 | DEC-20CU | Rem | DEC,#6 - #2/0 CU | EA | 1 |  | 0
Point 24 | DEG-10-PNA | Rem | DEG,1/0,Primary Neutral Al | EA | 1 |  | 0
Point 24 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 24 | GYF-38-42W-I | Rem | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 1 |  | 0
Point 24 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 24 | GYF-38-D-N-GH | Rem | GYF,3/8,Down,None,Guy Hook | EA | 1 |  | 0
Point 24 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 24 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 24 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 0
Point 24 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 5 |  | 0
Point 24 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 2 |  | 0
Point 24 | PLD-EYE-ARM | Rem | PLD, Eyebolt Deadend, Arm | EA | 2 |  | 0
Point 24 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 24 | SAA-SP-336 | Rem | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 0
Point 24 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 6 |  | 0
Point 27 | ARM-8SF-GN-TL | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Wednesday (08/13/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 19 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 19 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 17 |  | 0
Point 25 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 0
Point 19 | BKT-AC24-F | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls | EA | 2 |  | 0
Point 19 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 2 |  | 0
Point 19 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 2 |  | 0
Point 19 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 2 |  | 0
Point 19 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 19 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 19 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 2 |  | 0
Point 19 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 0
Point 19 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 0
Point 19 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 19 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 19 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 19 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 19 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 2 |  | 0
Point 20 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 2 |  | 0
Point 20 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 2 |  | 0
Point 20 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 2 |  | 0
Point 20 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 2 |  | 0
Point 20 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 20 | SAA-SP-336 | Rem | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 20 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 20 | SVD-SG10 | Rem | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 20 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 20 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 2 |  | 0
Point 25 | ARM-8SF-GN-DL | Inst | ARM,8ft Sgl.Fiberglass,Gain,DE Light | EA | 1 |  | 0
Point 25 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 1 |  | 0
Point 25 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 3 |  | 0
Point 25 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 0
Point 25 | DEG-10-SPAJ | Inst | DEG, 1/0,Slack Span Alum for J-Neck Ins | EA | 3 |  | 0
Point 25 | DEG-2-SPA | Inst | DEG,#2,Slack Span Alum | EA | 1 |  | 0
Point 25 | DEG-4-PNA | Inst | DEG,#4,Primary Neutral Al | EA | 1 |  | 0
Point 25 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 25 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 25 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 25 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 25 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 25 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 25 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 25 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 25 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 25 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 1 |  | 0
Point 25 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 26 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 0
Point 26 | ARM-8D-60S | Rem | ARM,8ft Double Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 26 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 1 |  | 0
Point 26 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 1 |  | 0
Point 26 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 26 | GYF-38-42W-I | Rem | GYF,3/8,42In Wire Mt,Insulator Adder | EA | 1 |  | 0
Point 26 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 26 | GYF-38-D-N-GH | Rem | GYF,3/8,Down,None,Guy Hook | EA | 1 |  | 0
Point 26 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 26 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 26 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 6 |  | 0
Point 26 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 6 |  | 0
Point 26 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 26 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 26 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 1 |  | 0
Point 26 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 36 |  | 0
TOTAL | [6 empty] | 0
Thursday (08/14/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 07 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 0
Point 08 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 08 | GYF-38-D-N-GH | Rem | GYF,3/8,Down,None,Guy Hook | EA | 1 |  | 0
Point 07 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 07 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 12 |  | 0
Point 07 | ARM-10SF-GN-DH | Inst | ARM,10ft Sgl.Fiberglass,Gain,DE Heavy | EA | 1 |  | 0
Point 07 | BKT-ARML-S | Inst | BKT,Crossarm inLin,Steel | EA | 3 |  | 0
Point 07 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 4 |  | 0
Point 07 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 3 |  | 0
Point 07 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 3 |  | 0
Point 07 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 0
Point 07 | DEG-10-SPA | Inst | DEG,1/0,Slack Span Alum | EA | 2 |  | 0
Point 07 | DEG-10-SPAJ | Inst | DEG, 1/0,Slack Span Alum for J-Neck Ins | EA | 3 |  | 0
Point 07 | DEG-4-DP | Inst | DEG,#4,DuPlex | EA | 1 |  | 0
Point 07 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 3 |  | 0
Point 07 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 07 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 0
Point 07 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 07 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 07 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 0
Point 07 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 0
Point 07 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 0
Point 07 | PLD-EYE | Inst | PLD,Eyebolt Deadend | EA | 2 |  | 0
Point 07 | PLD-EYE-ARM | Inst | PLD, Eyebolt Deadend, Arm | EA | 2 |  | 0
Point 07 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 07 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 07 | SLB-W-6-A-1-S | Inst | SLB,Wood,6ft,Alum,1Pos,Street | EA | 1 |  | 0
Point 07 | SLT-LED-RW-T3-8L-SF | Inst | 8500L LED, Type 3, Roadway | EA | 1 |  | 0
Point 07 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 3 |  | 0
Point 07 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 08 | ANC-DHM-8-84-D34 | Rem | ANC,Dbl Hlx Mach,8in,84in,Db Eye 3/4in | EA | 1 |  | 0
Point 08 | ARM-8D-60S | Rem | ARM,8ft Double Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 08 | ARM-BR-60S | Rem | ARM,Brace only Wood,60in Sgl.Wd | EA | 1 |  | 0
Point 08 | BKT-ARML-S | Rem | BKT,Crossarm inLin,Steel | EA | 6 |  | 0
Point 08 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 3 |  | 0
Point 08 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 3 |  | 0
Point 08 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 1 |  | 0
Point 08 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 1 |  | 0
Point 08 | EQL-1-4-C-4-C-LC1 | Rem | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 3 |  | 0
Point 08 | GND-LG-SL | Rem | GND,Lug,St Lt | EA | 1 |  | 0
Point 08 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 08 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 80 |  | 0
Point 08 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 08 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 6 |  | 0
Point 08 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 6 |  | 0
Point 08 | PLD-EYE | Rem | PLD,Eyebolt Deadend | EA | 1 |  | 0
Point 08 | PLD-EYE-ARM | Rem | PLD, Eyebolt Deadend, Arm | EA | 3 |  | 0
Point 08 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 08 | SLB-W-6-A-1-S | Rem | SLB,Wood,6ft,Alum,1Pos,Street | EA | 1 |  | 0
Point 08 | SLT-150-SR | Rem | 150W 120V Sodium Roadway Refractor | EA | 1 |  | 0
Point 08 | SWI-15-CO1-100-H | Rem | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 3 |  | 0
Point 08 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
TOTAL | [6 empty] | 0
Sunday (08/17/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 29 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 0
Point 29 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 17 |  | 0
Point 33 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 0
Point 29 | BKT-AC24-F | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls | EA | 1 |  | 0
Point 29 | CND-HLC10 | Inst | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 29 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 29 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 29 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 29 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 29 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 0
Point 29 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 0
Point 29 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 0
Point 29 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 4 |  | 0
Point 29 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 29 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 29 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 30 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 0
Point 30 | CND-HLC10 | Rem | CND,Hot Line Clamp 1/0 | EA | 1 |  | 0
Point 30 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 1 |  | 0
Point 30 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 0
Point 30 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 30 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 0
Point 30 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 3 |  | 0
Point 30 | SVD-SG10 | Rem | SVD, Service Grip, 1/0 | EA | 1 |  | 0
Point 30 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 0
Point 30 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 0
Point 33 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0