## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/18/2025 09:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 0 |  |  | Foreman: | Marco Gonzalez
| Total Line Items: | 236 |  |  | Work Request #: | 89877351
| Billing Period: | 07/21/2025 to 07/27/25 |  |  | Scope ID #: | R25P17
[5 empty] | Work Order #: | DCP0371566
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 568-2
Tuesday (07/22/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 11 | ANC-EXP-10-120-T1 | Inst | ANC,Expanding,10in,120in,Tr Eye 1in | EA | 1 |  | 0
Point 11 | CNA-TM | Inst | CNA,Trim Trees Minor | EA | 1 |  | 0
Point 13 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 20 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 21 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 15 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 0
Point 01 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 1 |  | 0
Point 01 | GYF-38-S-78P-EP | Inst | GYF,3/8,Span,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 01 | GYW-38 | Inst | GYW,3/8 in. EHS (15,400 lbs) | FT | 128 |  | 0
Point 01 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 1 |  | 0
Point 01 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 1 |  | 0
Point 01 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 01 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 01 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 02 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 1 |  | 0
Point 02 | GYF-38-S-78P-EP | Rem | GYF,3/8,Span,78in Pole mt,EyePlate | EA | 1 |  | 0
Point 02 | GYW-38 | Rem | GYW,3/8 in. EHS (15,400 lbs) | FT | 133 |  | 0
Point 02 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 1 |  | 0
Point 02 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 1 |  | 0
Point 02 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 02 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 02 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 03 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 03 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 03 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 03 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 04 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 04 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 04 | SAA-SP-336 | Rem | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 04 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 05 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 05 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 05 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 05 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 05 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 05 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 05 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 06 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 06 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 06 | SAA-SP-336 | Rem | SAA,Spreader Bkt, 336MCM Max | EA | 2 |  | 0
Point 06 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 06 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 06 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 06 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 07 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 07 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 07 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 07 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 07 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 08 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 08 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 08 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 08 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 08 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 08 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 08 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 09 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 09 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 09 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 09 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 09 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 09 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 09 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 09 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 10 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 10 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 0
Point 10 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 10 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 10 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 10 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 10 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 11 | ANC-DHM-10-84-T1-C | Inst | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 0
Point 11 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 11 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 11 | GYF-38-D-78P-EP-C | Inst | GYF,3/8,Down,78in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 11 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 40 |  | 0
Point 11 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 11 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 11 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 1 |  | 0
Point 11 | PLD-EYE-ARM-C | Inst | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 11 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 11 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 11 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 11 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 11 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 11 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 12 | ANC-DHM-10-84-T1-C | Rem | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 0
Point 12 | ARM-8D-60S-C | Rem | ARM,8Ft Double Wood,60In Sgl.Wd,Corr | EA | 1 |  | 0
Point 12 | ARM-BR-60S-C | Rem | ARM,Brace only Wood,60in Sgl.Wd,Corr | EA | 1 |  | 0
Point 12 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 12 | GND-MD | Rem | GND,Wire Mldg Only | EA | 1 |  | 0
Point 12 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 12 | GYF-38-78W-I-C | Rem | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 1 |  | 0
Point 12 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 12 | GYW-38C | Rem | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 40 |  | 0
Point 12 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 3 |  | 0
Point 12 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 12 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 3 |  | 0
Point 12 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 12 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 12 | SAA-SP-336 | Rem | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 0
Point 12 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 12 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 13 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 0
Point 13 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 13 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 13 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 13 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 13 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 13 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 13 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 13 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 14 | ARM-8S-60S-C | Rem | ARM,8ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 0
Point 14 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 14 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 14 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 14 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 14 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 14 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 15 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 2 |  | 0
Point 15 | BKT-ARML-A-C | Inst | BKT,Crossarm inLin,Alum,Corr | EA | 2 |  | 0
Point 15 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 15 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 0
Point 15 | EQL-1-4-C-4-C-LC1 | Inst | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 15 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 15 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 15 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 0
Point 15 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 5 |  | 0
Point 15 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 2 |  | 0
Point 15 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 15 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 15 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 15 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 2 |  | 0
Point 15 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 36 |  | 0
Point 16 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 2 |  | 0
Point 16 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 4 |  | 0
Point 16 | CND-HLC2 | Rem | CND,Hot Line clamp #6-#2 | EA | 2 |  | 0
Point 16 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 0
Point 16 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 0
Point 16 | EQL-1-4-C-4-C-LC1 | Rem | EQL,1 Phase,#4,Sol,#4,Sol,100a C/O | EA | 2 |  | 0
Point 16 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 16 | GND-MD | Rem | GND,Wire Mldg Only | EA | 1 |  | 0
Point 16 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 0
Point 16 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 5 |  | 0
Point 16 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 2 |  | 0
Point 16 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 0
Point 16 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 16 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 16 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 2 |  | 0
Point 16 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 36 |  | 0
Point 19 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
Point 20 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 0
Point 21 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Wednesday (07/23/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 19 | TAP-CR-10 | Inst | TAP,T Compression Run,1/0 | EA | 11 |  | 0
Point 21 | ANC-DHM-10-84-D1 | Inst | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 0
Point 21 | TAP-CR-10 | Inst | TAP,T Compression Run,1/0 | EA | 6 |  | 0
Point 19 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 19 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 19 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 19 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 19 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 2 |  | 0
Point 19 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 19 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 19 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 19 | TIE-4-ALH-F | Inst | TIE,4 AWG,AL Hand Tie,F Neck | EA | 18 |  | 0
Point 20 | ARM-8S-60S-C | Rem | ARM,8ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 0
Point 20 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 0
Point 20 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 0
Point 20 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 0
Point 20 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 20 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 2 |  | 0
Point 20 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 2 |  | 0
Point 20 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 20 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 2 |  | 0
Point 20 | TIE-4-ALH-F | Rem | TIE,4 AWG,AL Hand Tie,F Neck | EA | 12 |  | 0
Point 21 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 0
Point 21 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 0
Point 21 | CND-HLC2 | Inst | CND,Hot Line clamp #6-#2 | EA | 1 |  | 0
Point 21 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 0
Point 21 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 0
Point 21 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 21 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 21 | GND-MD | Inst | GND,Wire Mldg Only | EA | 2 |  | 0
Point 21 | GYD-MPY | Inst | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 21 | GYF-38-D-78P-EP-C | Inst | GYF,3/8,Down,78in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 21 | GYW-38C | Inst | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 40 |  | 0
Point 21 | INS-15-D-S-C | Inst | INS,15kV,Deadend,Polymer,Corr | EA | 2 |  | 0
Point 21 | PLD-EYE-ARM-C | Inst | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 21 | PLD-EYE-C | Inst | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 21 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 3 |  | 0
Point 21 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 0
Point 21 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 0
Point 21 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 21 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 21 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 21 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 22 | ANC-DHM-10-84-T1-C | Rem | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 0
Point 22 | ARM-8D-60S-C | Rem | ARM,8Ft Double Wood,60In Sgl.Wd,Corr | EA | 1 |  | 0
Point 22 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 0
Point 22 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 0
Point 22 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 22 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 22 | GND-MD | Rem | GND,Wire Mldg Only | EA | 1 |  | 0
Point 22 | GYD-MPY | Rem | GYD,Marker-Plastic-Yellow | EA | 1 |  | 0
Point 22 | GYF-38-78W-I-C | Rem | GYF,3/8,78Wire mt,Insulator Adder,Corros | EA | 1 |  | 0
Point 22 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 1 |  | 0
Point 22 | GYW-38C | Rem | GYW,3/8 in. Corrosive (16,200 lbs) | FT | 40 |  | 0
Point 22 | INS-15-D-S-C | Rem | INS,15kV,Deadend,Polymer,Corr | EA | 2 |  | 0
Point 22 | PLD-EYE-ARM-C | Rem | PLD, Eyebolt Deadend, Arm,Corrosive | EA | 2 |  | 0
Point 22 | PLD-EYE-C | Rem | PLD,Eyebolt Deadend,Corrosive | EA | 3 |  | 0
Point 22 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 0
Point 22 | SAA-3-S3 | Rem | SAA,3 inch,Sec Rack 3 Pos | EA | 1 |  | 0
Point 22 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 3 |  | 0
Point 22 | SVC-VA | Rem | SVC-Virtual Asset Capitalization | EA | 1 |  | 0
Point 22 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 0
Point 22 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 0
Point 22 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
TOTAL | [6 empty] | 0
Thursday (07/24/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 21 | SVC-10-QD-ALA-CC | Inst | SVC,1/0,Quad,Alum/Aly Neut,Corr/Comm | EA | 63 |  | 0
Point 05 | TAP-CR-10 | Inst | TAP,T Compression Run,1/0 | EA | 12 |  | 0
Point 05 | SVC-VA | Inst | SVC-Virtual Asset Capitalization | EA | 12 |  | 0
Point 21 | SVC-10-QD-ALA | Inst | #NO MATCH | #NO MATCH | 63 |  | 0
Point 05 | SLB-W-18-A-1-F | Tran | SLB,Wood,18in,Alu,1Pos,Flood | EA | 1 |  | 0
Point 05 | SLT-400-SFMSG | Tran | 400W Multi-Volt Sodm Fldligt, Slipfit,Gr | EA | 1 |  | 0
Point 05 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 05 | XFR-25-72-120-1B-S | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
Point 06 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 0
Point 06 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 0
Point 06 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 0
Point 06 | GND-MD | Rem | GND,Wire Mldg Only | EA | 1 |  | 0
Point 06 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 0
Point 06 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 0
Point 06 | XFR-25-72-120-1B-S | Rem | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 0
TOTAL | [6 empty] | 0