## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 07/31/2025 08:47 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 35039.55 |  |  | Foreman: | Marco Gonzalez
| Total Line Items: | 138 |  |  | Work Request #: | 89708709
| Billing Period: | 07/07/2025 to 07/13/25 |  |  | Scope ID #: | R25P6
[5 empty] | Work Order #: | DCP0370941
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 568-1
Tuesday (07/08/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 04 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 08 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 10 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 08 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 2143.8
Point 08 | CND-PBC336 | Inst | CND,Pri.Breaker Clamp 4/0-336MCM | EA | 6 |  | 1717.5
Point 06 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 2143.8
Point 06 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 8 |  | 952.8
Point 10 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 18 |  | 2143.8
Point 10 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 6 |  | 714.6
TOTAL | [6 empty] | 11761.89
Saturday (07/12/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 2 |  | 63.44
Point 01 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 55.2
Point 01 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 206 |  | 482.04
Point 01 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 5 |  | 1431.25
Point 01 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 01 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 01 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 6 |  | 476.1
Point 01 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 94.17
Point 01 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 94.17
Point 01 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 01 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 4 |  | 220.72
Point 01 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 195.83
Point 01 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 1 |  | 55.18
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 01 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 124.84
Point 02 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 4 |  | 114.4
Point 02 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 2 |  | 34.74
Point 02 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 2 |  | 12.34
Point 02 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 234 |  | 217.62
Point 02 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 5 |  | 475.75
Point 02 | DEC-795AL | Rem | DEC,#477 - #795 AL,AS | EA | 3 |  | 285.45
Point 02 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 95.15
Point 02 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 6 |  | 213.48
Point 02 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 02 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 31.08
Point 02 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 02 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 02 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 4 |  | 68.8
Point 02 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 1 |  | 17.2
Point 02 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 95.15
Point 02 | SWI-15-CO1-100-H | Rem | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 53.04
Point 03 | ALB-W-8-S-1-A | Tran | ALB,Wood,8ft,Steel,1P,Area | EA | 1 |  | 118.38
Point 03 | ALT-100-SOP | Tran | ALT,100,Sodium,Open,120,SlipFit, pkg | EA | 1 |  | 128.82
Point 03 | ALT-LED-RW-T3-8L-SF | Inst | 8500L LED, Type 3, Roadway,Slipfit | EA | 1 |  | 76.75
Point 03 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 03 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 20.29
Point 03 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 27.6
Point 03 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 03 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 138 |  | 322.92
Point 03 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 03 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 223
Point 03 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 116
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 03 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 94.17
Point 03 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 94.17
Point 03 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 03 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 2 |  | 110.36
Point 03 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 5 |  | 979.15
Point 03 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 5 |  | 275.9
Point 03 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 1431.25
Point 03 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 62.42
Point 03 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 03 | XFR-75-72-120-1B | Tran | XFR,75KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 206.51
Point 04 | ALT-100-SOP | Rem | ALT,100,Sodium,Open,120,SlipFit, pkg | EA | 1 |  | 54.35
Point 04 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 04 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 178 |  | 165.54
Point 04 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 95.15
Point 04 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 04 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 31.08
Point 04 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 04 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 04 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 2 |  | 34.4
Point 04 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 5 |  | 86
Point 04 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 5 |  | 475.75
Point 05 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 115 |  | 269.1
Point 05 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 572.5
Point 05 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 05 | DEG-4-DP | Inst | DEG,#4,DuPlex | EA | 1 |  | 286.25
Point 05 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 05 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 94.17
Point 05 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 94.17
Point 05 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 4 |  | 220.72
Point 05 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 587.49
Point 05 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 3 |  | 165.54
Point 05 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 858.75
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 146 |  | 135.78
Point 06 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 95.15
Point 06 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 2 |  | 190.3
Point 06 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 1 |  | 95.15
Point 06 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 06 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 06 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 31.08
Point 06 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 06 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 4 |  | 68.8
Point 06 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 3 |  | 51.6
Point 06 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 285.45
Point 07 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 75 |  | 175.5
Point 07 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 07 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 94.17
Point 07 | PAA-40AL | Inst | PAA,#1/0 - #4/0 AA,AL,AS | EA | 1 |  | 286.25
Point 07 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 94.17
Point 08 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 75 |  | 69.75
Point 08 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 08 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 08 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 31.08
Point 08 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 09 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 09 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 09 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 20.29
Point 09 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 27.6
Point 09 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 09 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 92 |  | 215.28
Point 09 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 572.5
Point 09 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 09 | EQL-1-4-C-20-S-X | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 223
Point 09 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 116
Point 09 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 09 | INS-15-P-S | Inst | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 94.17
Point 09 | PIN-35-PTP | Inst | Pin,35kV,Pole Top | EA | 1 |  | 94.17
Point 09 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 3 |  | 165.54
Point 09 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 3 |  | 587.49
Point 09 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 3 |  | 165.54
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 858.75
Point 09 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 62.42
Point 09 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 2 |  | 53.04
Point 09 | XFR-50-72-120-1B | Inst | XFR,50KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 234
Point 09 | XFR-50-72-120-1B | Rem | XFR,50KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 159
Point 10 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 10 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 10 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 129 |  | 119.97
Point 10 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 95.15
Point 10 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 2 |  | 190.3
Point 10 | EQL-1-4-C-20-S-X | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr | EA | 1 |  | 116
Point 10 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 10 | PIN-35-PTP | Rem | Pin,35kV,Pole Top | EA | 1 |  | 31.08
Point 10 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 10 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 51.6
Point 10 | SVD-3-CV | Rem | SVD,3 inch,Clevis | EA | 3 |  | 51.6
Point 10 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 3 |  | 285.45
TOTAL | [6 empty] | 23277.66