## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 07/30/2025 01:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 22980.23 |  |  | Foreman: | Devin Carriere
| Total Line Items: | 104 |  |  | Work Request #: | 89713058
| Billing Period: | 07/27/2025 to 07/27/25 |  |  | Scope ID #: | R25P16
[5 empty] | Work Order #: | DCP0371565
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 820-1
Thursday (07/24/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 03 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 03 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 3 |  | 82.8
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 03 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 03 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 03 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 03 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 05 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 05 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 470.85
Point 05 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 05 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 21 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 21 | BKT-AC24-F-C | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 21 | DEG-40-SPA | Inst | DEG,4/0,Slack Span Alum | EA | 1 |  | 286.25
Point 21 | EQL-1-4-C-20-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 21 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 21 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 21 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 21 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 21 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 03 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 2 |  | 1297.06
Point 17 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 19 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
TOTAL | [6 empty] | 7269.21
Friday (07/25/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 17 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 17 | BKT-AC243PH-F-C | Inst | BKT,Riser Arr/Term 24in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 17 | BKT-CMX-50-A | Inst | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 49.01
Point 17 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 31.72
Point 17 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 3 |  | 82.8
Point 17 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 17 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 17 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 17 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 17 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 17 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 286.25
Point 17 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 187.26
Point 19 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 19 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 22 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 61.83
Point 22 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 22 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 240 |  | 223.2
Point 22 | DEG-40-SNA | Rem | DEG,4/0,Secondary Neutral Al | EA | 1 |  | 95.15
Point 22 | EQL-1-4-C-20-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 22 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 22 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 22 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 22 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 2 |  | 34.4
Point 22 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 18 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 22 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
TOTAL | [6 empty] | 4165.96
Saturday (07/26/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 19 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 19 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 19 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 19 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 20 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 61.83
Point 20 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 492 |  | 457.56
Point 20 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 20 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 23 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 2 |  | 701.06
Point 23 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 1 |  | 66.72
Point 23 | BKT-AC24-F-C | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 23 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 27.6
Point 23 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 23 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 23 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 23 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 188.34
Point 23 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 23 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 23 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 1 |  | 62.42
Point 24 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 620 |  | 576.6
Point 24 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 24 | INS-35-P-S | Rem | INS,35kV,Pin,Silicon Polymer | EA | 2 |  | 62.16
Point 24 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 24 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 19 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 23 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 2 |  | 1297.06
Point 25 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 27 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 24 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
TOTAL | [6 empty] | 7989.6
Sunday (07/27/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 24 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 61.83
Point 25 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 25 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 1 |  | 66.72
Point 25 | BKT-AC24-F-C | Inst | BKT,Arrestor/CO 24in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 25 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 27.6
Point 25 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 25 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 25 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 25 | PIN-XAA | Inst | Pin,Crossarm,8in | EA | 2 |  | 188.34
Point 25 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 25 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 25 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 1 |  | 62.42
Point 26 | ARM-8S-60S | Rem | ARM,8ft Single Wood,60in Sgl.Wd | EA | 1 |  | 61.83
Point 26 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 80 |  | 74.4
Point 26 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 26 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 26 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 26 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 27 | ANC-DHM-10-84-T1-C | Inst | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 217.53
Point 27 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 350.53
Point 27 | BKT-AC243PH-F-C | Inst | BKT,Riser Arr/Term 24in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 27 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 27 | POL-45-1 | Inst | Pole,45ft,Class 1 | EA | 1 |  | 478.55
Point 26 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
TOTAL | [6 empty] | 3555.46