## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 07/30/2025 01:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 37690.86 |  |  | Foreman: | Abraham Hernandez
| Total Line Items: | 178 |  |  | Work Request #: | 89763663
| Billing Period: | 07/26/2025 to 07/27/25 |  |  | Scope ID #: | R25P35
[5 empty] | Work Order #: | DCP0371678
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 287-1
Tuesday (07/22/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 02 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 02 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 1 |  | 17.37
Point 02 | ARR-10-L | Rem | ARR,10kV,Line | EA | 3 |  | 85.8
Point 02 | CND-SA336 | Rem | CND,Stirrup Ampact 336 | EA | 3 |  | 28.02
Point 01 | ANC-DHM-10-84-T1-C | Inst | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 1 |  | 217.53
Point 01 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 1 |  | 79.35
Point 01 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 09 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 03 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 05 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 01 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 350.53
Point 02 | ARM-8S-60HS-C | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 02 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 3 |  | 93.24
Point 02 | PIN-XAL | Rem | Pin,Crossarm Light | EA | 3 |  | 93.24
Point 02 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 03 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 03 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 03 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 03 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 05 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 05 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 05 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 05 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 05 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 09 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 350.53
Point 09 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 09 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 470.85
Point 09 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 5 |  | 470.85
Point 09 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 9558.11
Wednesday (07/23/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CND-SA336 | Rem | CND,Stirrup Ampact 336 | EA | 3 |  | 28.02
Point 01 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 03 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 05 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 07 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 09 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 07 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 11 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 11 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 14 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 14 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 12 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 12 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 12 | ARR-10-X | Inst | ARR,10kV,Transformer | EA | 1 |  | 66.72
Point 12 | ARR-10-X | Rem | ARR,10kV,Transformer | EA | 1 |  | 28.6
Point 07 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 07 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 07 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 07 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 08 | ARM-8S-60HS-C | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 08 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 08 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 08 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 08 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 11 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 11 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 11 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 11 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 11 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 12 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 12 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 12 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 12 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 12 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 12 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 12 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 12 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 12 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 195.83
Point 12 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 12 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 12 | XFR-25-72-120-2B-S | Tran | XFR,25KVA,7.2/12.4kVY,120/240,2BG,SS | EA | 1 |  | 203
Point 13 | ARM-10SF-GN-TL-C | Rem | ARM,10ft Sgl.Fiberglass,Gain,TangLD,Corr | EA | 1 |  | 61.83
Point 13 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 13 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 13 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 13 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 13 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 13 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 13 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 95.15
Point 13 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 14 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 14 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 14 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 14 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 14 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 11175.76
Thursday (07/24/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 15 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 15 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 19 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 19 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 17 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 17 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 15 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 2 |  | 701.06
Point 15 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 15 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 6 |  | 565.02
Point 15 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 6 |  | 565.02
Point 15 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 16 | ARM-8S-60HS-C | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 16 | ARR-10-LS | Rem | ARR,10kV,Line,Arrester Stations | EA | 3 |  | 85.8
Point 16 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 16 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 16 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 16 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 16 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 16 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 17 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 17 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 17 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 18 | ARM-10SF-GN-TL-C | Rem | ARM,10ft Sgl.Fiberglass,Gain,TangLD,Corr | EA | 1 |  | 61.83
Point 18 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 18 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 18 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 18 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 19 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 19 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 19 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 19 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 19 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 8430.06
Friday (07/25/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 05 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 1 |  | 66.72
Point 05 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 05 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 1 |  | 62.42
Point 05 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 1 |  | 3.68
Point 05 | UPTM-SO-10-15 | Tran | UPTM,Shrink Outdoor,1/0,15kV | EA | 1 |  | 31.21
Point 05 | URSG-D-CP | Inst | URSG,Distr,Cable Postioner | EA | 1 |  | 33.05
Point 06 | ARM-8S-60HS | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd | EA | 1 |  | 61.83
Point 06 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 1 |  | 28.6
Point 06 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 06 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 06 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 06 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 06 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 06 | SWI-15-CO1-100-H | Rem | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 1 |  | 26.52
Point 08 | URSR-3-DSO | Rem | URSR,3in,Dist Stand Off | EA | 1 |  | 143.3
Point 09 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 790.56
Point 09 | BKT-ARML-A-C | Inst | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 95.16
Point 09 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 5 |  | 101.45
Point 09 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 3 |  | 858.75
Point 09 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 10 | ANC-DHM-8-84-T1-C | Rem | ANC,Dbl Hlx Mach,8in,84in,TpEye 1in,Cor | EA | 1 |  | 28.6
Point 10 | ARM-8D-60S-C | Rem | ARM,8Ft Double Wood,60In Sgl.Wd,Corr | EA | 1 |  | 73.73
Point 10 | ARM-8S-60HS-C | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 10 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 52.11
Point 10 | GYF-38-D-N-GH | Rem | GYF,3/8,Down,None,Guy Hook | EA | 1 |  | 35.58
Point 10 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 5 |  | 155.4
Point 10 | PIN-XAL | Rem | Pin,Crossarm Light | EA | 5 |  | 155.4
Point 10 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 10 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 10 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
TOTAL | [6 empty] | 3878.26
Saturday (07/26/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 22 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 22 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 03 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 3 |  | 200.16
Point 03 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 03 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 31.72
Point 03 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 03 | UGND-TAG-C | Inst | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 3 |  | 5.52
Point 03 | UPTM-SO-500-15 | Inst | UPTM,Shrink Outdoor,500,15kV | EA | 3 |  | 316.26
Point 03 | URSG-D-168 | Inst | URSG,Distr.1.68in OD | EA | 3 |  | 42.3
Point 03 | URSR-4-DSO2-C | Inst | URSR,4in,Dist,Stand Off,2 Cdts,Corr | EA | 1 |  | 459
Point 04 | ARM-8S-60HS-C | Rem | ARM,8ft Single Wood,60in HD Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 04 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 3 |  | 85.8
Point 04 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 04 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 04 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 04 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 04 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 04 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 04 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
Point 09 | GYF-38-D-78P-EP-C | Inst | GYF,3/8,Down,78in Pole mt,EyePlate,Corr | EA | 1 |  | 79.35
Point 22 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 22 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 22 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 22 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 22 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 23 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 61.83
Point 23 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 23 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 23 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
TOTAL | [6 empty] | 4648.67