## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 07/30/2025 01:48 PM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 12286 |  |  | Foreman: | Abraham Hernandez
| Total Line Items: | 67 |  |  | Work Request #: | 89763663
| Billing Period: | 07/29/2025 to 08/03/25 |  |  | Scope ID #: | R25P35
[5 empty] | Work Order #: | DCP0371678
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 287-1
Monday (07/28/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 24 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 24 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 24 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 24 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 3 |  | 200.16
Point 24 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 24 | BKT-ARML-A-C | Inst | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 95.16
Point 24 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 2 |  | 63.44
Point 24 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 24 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 24 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 24 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 24 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 24 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 3 |  | 11.04
Point 24 | UPTM-SO-500-15 | Tran | UPTM,Shrink Outdoor,500,15kV | EA | 3 |  | 93.63
Point 24 | URSG-D-168 | Inst | URSG,Distr.1.68in OD | EA | 3 |  | 42.3
Point 24 | URSR-4-DSO-C | Tran | URSR,4in,Distr,Stand Off,Corr | EA | 1 |  | 195.85
Point 25 | ARM-10S-60S-C | Rem | ARM,10ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 25 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 3 |  | 85.8
Point 25 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 25 | BKT-AC183PH-F-C | Tran | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 38.51
Point 25 | BKT-IP8-F-C | Rem | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 17.37
Point 25 | BKT-IP8-F-C | Tran | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 38.51
Point 25 | CND-SB336 | Rem | CND,Stirrup Bolted 336MCM | EA | 3 |  | 28.02
Point 25 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 25 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 25 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 25 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 25 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 25 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
Point 25 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 3 |  | 11.04
Point 25 | UPTM-SO-500-15 | Tran | UPTM,Shrink Outdoor,500,15kV | EA | 3 |  | 93.63
TOTAL | [6 empty] | 4183.45
Tuesday (07/29/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 20 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 20 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 01 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 208 |  | 486.72
Point 03 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 73 |  | 170.82
Point 05 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 131 |  | 306.54
Point 07 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 183 |  | 428.22
Point 09 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 11 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 118 |  | 276.12
Point 12 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 114 |  | 266.76
Point 14 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 115 |  | 269.1
Point 15 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 171 |  | 400.14
Point 17 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 140 |  | 327.6
Point 19 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 139 |  | 325.26
Point 20 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 20 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 3 |  | 200.16
Point 20 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 2 |  | 63.44
Point 20 | BKT-IP8-F | Inst | BKT,Insulator Post 8in,Fbrgls | EA | 1 |  | 31.72
Point 20 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 31.72
Point 20 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 84 |  | 196.56
Point 20 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 20 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 20 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 20 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 20 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 21 | ARM-10S-60S-C | Rem | ARM,10ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 21 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 3 |  | 85.8
Point 21 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 21 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 52.11
Point 21 | BKT-IP8-F-C | Rem | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 17.37
Point 21 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 21 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 21 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 21 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 21 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
Point 22 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 182 |  | 425.88
Point 24 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 178 |  | 416.52
TOTAL | [6 empty] | 8102.55