## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/16/2025 12:47 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 27981.8 |  |  | Foreman: | Jose Mendez
| Total Line Items: | 200 |  |  | Work Request #: | 89719272
| Billing Period: | 07/14/2025 to 07/20/25 |  |  | Scope ID #: | R25P17
[5 empty] | Work Order #: | VARIOUS
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 567-1
Thursday (07/17/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 01 | DEC-397AL-C | Inst | DEC,#3/0 - #397 AA,AL,AS,Corrosive | EA | 1 |  | 286.25
Point 01 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 01 | SAA-DE-477-C | Inst | SAA, DE Clamp 4/0-477, Corr. | EA | 1 |  | 55.18
Point 01 | SLB-W-30-A-1-S | Inst | SLB,Wood,30in,Alum,1Pos,Street | EA | 1 |  | 51.05
Point 01 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 01 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 01 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 01 | BKT-PI18-F | Inst | BKT,Pin insulator 18in,Fbrgls | EA | 2 |  | 63.44
Point 01 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 2 |  | 40.58
Point 01 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 1 |  | 20.29
Point 01 | CND-SA477 | Inst | CND,Stirrup,Ampact 477 | EA | 2 |  | 24.98
Point 01 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 01 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 03 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 03 | CND-S40795A | Inst | CND,Stirrup 4/0-795 ACSR | EA | 1 |  | 27.6
Point 03 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 122 |  | 285.48
Point 03 | EQL-1-4-C-20-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 03 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 03 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 03 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 03 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 03 | XFR-50-72-120-1B-S | Tran | XFR,50KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 203
Point 05 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 05 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 05 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 05 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 05 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 05 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 05 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 05 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 63.44
Point 05 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 27.6
Point 07 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 07 | CND-S40795A | Inst | CND,Stirrup 4/0-795 ACSR | EA | 1 |  | 27.6
Point 07 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 121 |  | 283.14
Point 07 | EQL-1-4-C-20-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 07 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 07 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 3 |  | 165.54
Point 07 | SLT-LED-RW-T3-14L-SF | Inst | 14kL LED, Type 3, Roadway | EA | 1 |  | 76.75
Point 07 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 07 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 07 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 07 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 09 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 09 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 09 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 11 | CND-S40795A | Inst | CND,Stirrup 4/0-795 ACSR | EA | 1 |  | 27.6
Point 11 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 11 | EQL-1-4-C-20-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,2/0,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 11 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 11 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 11 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 55.18
Point 11 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 2 |  | 391.66
Point 11 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 11 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 11 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 11 | XFR-75-72-120-1B-S | Tran | XFR,75KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 206.51
Point 15 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 75 |  | 175.5
Point 15 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 75 |  | 175.5
Point 15 | DEC-397AL-C | Inst | DEC,#3/0 - #397 AA,AL,AS,Corrosive | EA | 2 |  | 572.5
Point 15 | SLT-LED-RW-T3-14L-SF | Inst | 14kL LED, Type 3, Roadway | EA | 1 |  | 76.75
TOTAL | [6 empty] | 12462.65
Friday (07/18/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | GYF-38-D-78P-EP-C | Inst | GYF,3/8,Down,78in Pole mt,EyePlate,Corr | EA | 1 |  | 79.35
Point 01 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 02 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 122 |  | 113.46
Point 04 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 120 |  | 111.6
Point 04 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 122 |  | 113.46
Point 08 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 121 |  | 112.53
Point 10 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 120 |  | 111.6
Point 10 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 12 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 13 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 81 |  | 189.54
Point 14 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 100 |  | 93
Point 14 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 14 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 17 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 18 | EQL-3-4-C-2-S-X | Rem | EQL,3 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 340
Point 18 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 18 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 71.16
Point 18 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 18 | XFR-50-72-120-2B-S | Rem | XFR,50KVA,7.2/12.4kVY,120/240,2BG,SS | EA | 1 |  | 159
Point 18 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 18 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 18 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 18 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 18 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 19 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 63.44
Point 19 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 20 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 20 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 34.74
Point 22 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 22 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 198.88
Point 22 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 22 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 24 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 25 | XFR-25-72-120-1B-S | Tran | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 203
Point 26 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 26 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 26 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 28 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 28 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 28 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 29 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 29 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 29 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 195.83
Point 29 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 29 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 29 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 29 | XFR-25-72-120-1B-S | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 234
Point 30 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 30 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 30 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 30 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 30 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 30 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 30 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 30 | XFR-25-72-120-1B-S | Rem | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 159
Point 30 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 30 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 30 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 30 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 30 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 31 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 31 | CND-S40795A | Inst | CND,Stirrup 4/0-795 ACSR | EA | 1 |  | 27.6
Point 31 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 31 | SVC-10-TP-AAA-RS | Tran | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 195.83
Point 31 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 31 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 858.75
Point 31 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 31 | XFR-25-72-120-1B-S | Tran | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 203
Point 32 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 32 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 32 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 32 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 32 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 33 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 33 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 33 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 33 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 33 | XFR-25-72-120-1B-S | Tran | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 203
Point 34 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 17.37
Point 34 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 34 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 34 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 34 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 35 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 36 | XFR-50-72-120-1B-S | Rem | XFR,50KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 159
Point 25 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 25 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 25 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 25 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 25 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 03 | DEG-10-PSC-15 | Rem | DEG, 1/0, Pri.Spacer Cable, 15KV | EA | 1 |  | 95.15
Point 3 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 01 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 4 |  | 81.16
Point 01 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 2 |  | 40.58
Point 03 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 7 |  | 142.03
Point 03 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 4 |  | 81.16
Point 03 | PLA-CUT | Inst | #NO MATCH | #NO MATCH | 1 |  | 216.17
Point 04 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 05 | CNC-NTS-2 | Inst | CNC, Non-Tension Splice for Serv,#6-#2 | EA | 3 |  | 60.87
Point 05 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 2 |  | 40.58
Point 05 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 4 |  | 81.16
Point 6 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 07 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 6 |  | 121.74
Point 07 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 3 |  | 60.87
Point 08 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 09 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 4 |  | 81.16
Point 09 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 4 |  | 81.16
Point 11 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 4 |  | 81.16
Point 11 | CNC-NTS-2 | Inst | CNC, Non-Tension Splice for Serv,#6-#2 | EA | 2 |  | 40.58
Point 12 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 13 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 4 |  | 81.16
Point 13 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 2 |  | 40.58
Point 13 | CNC-NTS-2 | Inst | CNC, Non-Tension Splice for Serv,#6-#2 | EA | 4 |  | 81.16
Point 14 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 15 | CNC-SNI-40 | Inst | CNC,Svc.spl. Non-Tension insul,#1/0-#4/0 | EA | 2 |  | 40.58
Point 15 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 2 |  | 40.58
Point 36 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 35 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 6 |  | 121.74
Point36 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 34 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 32 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
point35 | CND-HC | Inst | #NO MATCH | #NO MATCH | 1 |  | 28.08
Point 33 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 6 |  | 121.74
Point 33 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 31 | CNC-SNB-2 | Inst | CNC,Splice Non-Tension Bare,#6-#2 | EA | 10 |  | 202.9
Point 31 | CNC-NTS-2 | Inst | CNC, Non-Tension Splice for Serv,#6-#2 | EA | 3 |  | 60.87
Point 30 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 05 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
Point 07 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
Point 09 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
Point 11 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
Point 13 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
Point 29 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 3 |  | 587.49
Point 03 | SVC-40-TP-ALA-PC | Trans | SVC,4/0,Trip,Alum/Aly Neut,Paral Comm | EA | 1 |  | 195.83
TOTAL | [6 empty] | 15519.15