## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/16/2025 12:48 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 34975.52 |  |  | Foreman: | Abraham Hernandez
| Total Line Items: | 128 |  |  | Work Request #: | 89763663
| Billing Period: | 07/28/2025 to 08/03/25 |  |  | Scope ID #: | R25P35
[5 empty] | Work Order #: | DCP0371678
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 287-1
Monday (07/28/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 24 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 24 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 24 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 24 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 3 |  | 200.16
Point 24 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 24 | BKT-ARML-A-C | Inst | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 95.16
Point 24 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 2 |  | 63.44
Point 24 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 24 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 24 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 24 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 24 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 24 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 3 |  | 11.04
Point 24 | UPTM-SO-500-15 | Tran | UPTM,Shrink Outdoor,500,15kV | EA | 3 |  | 93.63
Point 24 | URSG-D-168 | Inst | URSG,Distr.1.68in OD | EA | 3 |  | 42.3
Point 24 | URSR-4-DSO-C | Tran | URSR,4in,Distr,Stand Off,Corr | EA | 1 |  | 195.85
Point 25 | ARM-10S-60S-C | Rem | ARM,10ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 25 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 3 |  | 85.8
Point 25 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 25 | BKT-AC183PH-F-C | Tran | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 38.51
Point 25 | BKT-IP8-F-C | Rem | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 17.37
Point 25 | BKT-IP8-F-C | Tran | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 38.51
Point 25 | CND-SB336 | Rem | CND,Stirrup Bolted 336MCM | EA | 3 |  | 28.02
Point 25 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 25 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 25 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 25 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 25 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 25 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
Point 25 | UGND-TAG-C | Tran | UGND,TAG CABLE MARKER (WHITE),Cable | EA | 3 |  | 11.04
Point 25 | UPTM-SO-500-15 | Tran | UPTM,Shrink Outdoor,500,15kV | EA | 3 |  | 93.63
TOTAL | [6 empty] | 4183.45
Tuesday (07/29/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 20 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 20 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 01 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 208 |  | 486.72
Point 03 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 73 |  | 170.82
Point 05 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 131 |  | 306.54
Point 07 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 183 |  | 428.22
Point 09 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 120 |  | 280.8
Point 11 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 118 |  | 276.12
Point 12 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 114 |  | 266.76
Point 14 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 115 |  | 269.1
Point 15 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 171 |  | 400.14
Point 17 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 140 |  | 327.6
Point 19 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 139 |  | 325.26
Point 20 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 20 | ARR-10-R | Inst | ARR,10kV,Riser Pole | EA | 3 |  | 200.16
Point 20 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 2 |  | 63.44
Point 20 | BKT-IP8-F | Inst | BKT,Insulator Post 8in,Fbrgls | EA | 1 |  | 31.72
Point 20 | BKT-IP8-F-C | Inst | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 31.72
Point 20 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 84 |  | 196.56
Point 20 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 20 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 20 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 20 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 20 | SWI-27-CO1-100-H-C | Inst | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 187.26
Point 21 | ARM-10S-60S-C | Rem | ARM,10ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 21 | ARR-10-R | Rem | ARR,10kV,Riser Pole | EA | 3 |  | 85.8
Point 21 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 21 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 3 |  | 52.11
Point 21 | BKT-IP8-F-C | Rem | BKT,Insulator Post 8in,Fbrgls,Corrosive | EA | 1 |  | 17.37
Point 21 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 21 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 21 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 21 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 21 | SWI-27-CO1-100-H-C | Rem | SWI,27kV,Line Cutout 1PH,100A,Hook,C | EA | 3 |  | 79.56
Point 22 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 182 |  | 425.88
Point 24 | CON-40-AAA-1-B | Inst | CON,#4/0 AWG,Alum Alloy,One,Bare | FT | 178 |  | 416.52
TOTAL | [6 empty] | 8102.55
Wednesday (07/30/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 625 |  | 1781.25
Point 03 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 220 |  | 627
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 05 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 392 |  | 1117.2
Point 05 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 05 | URSR-2-DSO-C | Tran | URSR,2in,Dist Stand Off,Corr | EA | 1 |  | 195.85
Point 07 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 550 |  | 1567.5
Point 07 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 09 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 360 |  | 1026
Point 09 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 09 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 1 |  | 55.18
Point 11 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 353 |  | 1006.05
Point 11 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 12 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 343 |  | 977.55
Point 12 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 13 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 14 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 345 |  | 983.25
Point 14 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 15 | ARR-10-LS | Inst | ARR,10kV,Line,Arrester Stations | EA | 3 |  | 200.16
Point 15 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 15 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 512 |  | 1459.2
Point 15 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
TOTAL | [6 empty] | 11486.55
Thursday (07/31/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 03 | CND-S556 | Inst | CND,Stirrup 556MCM | EA | 3 |  | 82.8
Point 04 | CND-S556 | Rem | CND,Stirrup 556MCM | EA | 3 |  | 18.51
Point 05 | CND-SB556 | Inst | CND,Stirrup Bolted 556MCM | EA | 1 |  | 12.49
Point 06 | CND-S556 | Rem | CND,Stirrup 556MCM | EA | 1 |  | 6.17
Point 09 | CND-SB556 | Inst | CND,Stirrup Bolted 556MCM | EA | 3 |  | 37.47
Point 10 | CND-SB556 | Rem | CND,Stirrup Bolted 556MCM | EA | 3 |  | 28.02
Point 12 | CND-SB556 | Inst | CND,Stirrup Bolted 556MCM | EA | 1 |  | 12.49
Point 13 | CND-SB336 | Rem | CND,Stirrup Bolted 336MCM | EA | 1 |  | 9.34
Point 17 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 420 |  | 1197
Point 17 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 19 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 416 |  | 1185.6
Point 19 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 20 | CND-S556 | Inst | CND,Stirrup 556MCM | EA | 3 |  | 82.8
Point 20 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 252 |  | 718.2
Point 20 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 21 | CND-SB336 | Rem | CND,Stirrup Bolted 336MCM | EA | 3 |  | 28.02
Point 21 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 22 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 546 |  | 1556.1
Point 22 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 24 | CND-SB556 | Inst | CND,Stirrup Bolted 556MCM | EA | 3 |  | 37.47
Point 24 | CON-556-AAL-1-B | Inst | CON,556.5 MCM,All Aluminum,One,Bare | FT | 533 |  | 1519.05
Point 24 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
TOTAL | [6 empty] | 6824.63
Friday (08/01/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CNC-SNB-10 | Inst | CNC,Splice Non-Tension Bare,#336-#1033 | EA | 6 |  | 121.74
Point 01 | DEC-397AL-C | Inst | DEC,#3/0 - #397 AA,AL,AS,Corrosive | EA | 3 |  | 858.75
Point 01 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 3 |  | 858.75
Point 01 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 01 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 01 | SAA-DE-477-C | Inst | SAA, DE Clamp 4/0-477, Corr. | EA | 2 |  | 110.36
Point 02 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 210 |  | 195.3
Point 04 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 74 |  | 68.82
Point 06 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 124 |  | 115.32
Point 08 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 204 |  | 189.72
Point 10 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 226 |  | 210.18
Point 13 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 226 |  | 210.18
Point 16 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 233 |  | 216.69
Point 18 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 216 |  | 200.88
Point 21 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 222 |  | 206.46
Point 23 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 99 |  | 92.07
Point 25 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 170 |  | 158.1
TOTAL | [6 empty] | 4378.34