## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/16/2025 12:48 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 38481.03 |  |  | Foreman: | Abraham Hernandez
| Total Line Items: | 129 |  |  | Work Request #: | 89763663
| Billing Period: | 08/04/2025 to 08/10/25 |  |  | Scope ID #: | R25P35
[5 empty] | Work Order #: | DCP0371678
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 287-1
Monday (08/04/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 26 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 02 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 630 |  | 617.4
Point 04 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 221 |  | 216.58
Point 06 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 373 |  | 365.54
Point 08 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 613 |  | 600.74
Point 10 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 677 |  | 663.46
Point 13 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 679 |  | 665.42
Point 16 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 698 |  | 684.04
Point 18 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 649 |  | 636.02
Point 21 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 666 |  | 652.68
Point 23 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 297 |  | 291.06
Point 25 | CON-336-ACS-1-B | Rem | CON,336 KCM,ACSR,One,Bare | FT | 509 |  | 498.82
Point 26 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 2 |  | 1581.12
Point 26 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 8649.6
Tuesday (08/05/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 28 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 28 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 30 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 30 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 32 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 32 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 27 | ANC-DHM-10-84-T1-C | Rem | ANC,Dbl Hlx Mach,10in,84in,TpEye 1in,Cor | EA | 2 |  | 57.2
Point 27 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 3 |  | 106.74
Point 28 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 3 |  | 2371.68
Point 28 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 238.05
Point 28 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 30 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 31 | BKT-PI24-F-C | Rem | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 34.74
Point 31 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 31 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 31 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 31 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 32 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 6678.97
Wednesday (08/06/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 33 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 33 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 35 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 35 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 33 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 63.44
Point 33 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 34 | BKT-PI18-F | Rem | BKT,Pin insulator 18in,Fbrgls | EA | 2 |  | 34.74
Point 34 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 34 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 34 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 198.88
Point 34 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 35 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 2792.02
Thursday (08/07/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 37 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 37 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 26 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 238.05
Point 28 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 3 |  | 95.16
Point 30 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 63.44
Point 30 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 30 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 32 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 63.44
Point 32 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 32 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 33 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 33 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 35 | BKT-AC183PH-F-C | Inst | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 31.72
Point 35 | BKT-CMX-50-A | Inst | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 49.01
Point 35 | EQL-3-4-C-35-S-X | Inst | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 670
Point 35 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 2 |  | 221.48
Point 35 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 35 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 35 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 187.26
Point 35 | XFR-50-72-120-2B-S | Trans | XFR,50KVA,7.2/12.4kVY,120/240,2BG,SS | EA | 3 |  | 609
Point 36 | ARR-10-X | Rem | ARR,10kV,Transformer | EA | 3 |  | 85.8
Point 36 | BKT-AC183PH-F-C | Rem | BKT,Riser Arr/Term 18in 3Ph,Fbrgls,Corr | EA | 1 |  | 17.37
Point 36 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 26.73
Point 36 | BKT-IP8-F | Rem | BKT,Insulator Post 8in,Fbrgls | EA | 1 |  | 17.37
Point 36 | BKT-PI24-F-C | Rem | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 34.74
Point 36 | CND-SA477 | Rem | CND,Stirrup,Ampact 477 | EA | 3 |  | 28.02
Point 36 | EQL-3-4-C-40-S-X | Rem | EQL,3 Ph,#4,CU Sol,4/0,CU Str,Xfr | EA | 1 |  | 340
Point 36 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 36 | INS-15-P-S | Rem | INS,15kV,Pin,Silicon Polymer | EA | 1 |  | 31.08
Point 36 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 36 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 36 | POL-35-6 | Rem | Pole,35ft,Class 6 | EA | 1 |  | 198.88
Point 36 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 36 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 3 |  | 79.56
Point 36 | XFR-50-72-120-2B | Rem | XFR,50KVA,7.2/12.4kVY,120/240,2BG | EA | 3 |  | 477
Point 37 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 1 |  | 31.72
Point 37 | BKT-PI24-F-C | Inst | BKT,Pin insulator 24in,Fbrgls,Corr | EA | 2 |  | 63.44
Point 37 | DEG-10-SPA | Inst | DEG,1/0,Slack Span Alum | EA | 2 |  | 572.5
Point 37 | EQL-1-4-C-2-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 37 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 37 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 37 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 37 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 37 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 37 | XFR-10-72-240-2B | Tran | XFR,10KVA,7.2/12.4kVY,240/480,2BG | EA | 1 |  | 203
Point 38 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 38 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 2 |  | 190.3
Point 38 | EQL-1-4-C-2-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 38 | GND-CR-4-FG | Rem | GND,Cu Clad Rod,#4, FiberGlass | EA | 1 |  | 60.43
Point 38 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 38 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 38 | POL-40-3 | Rem | Pole,40ft,Class 3 | EA | 1 |  | 198.88
Point 38 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 3 |  | 51.6
Point 40 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
TOTAL | [6 empty] | 9163.24
Friday (08/08/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 29 | DEG-556-SPA | Inst | DEG,556,Slack Span Alum | EA | 3 |  | 858.75
Point 28 | DEG-40-SPA | Inst | DEG,4/0,Slack Span Alum | EA | 1 |  | 286.25
Point 39 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 39 | PLD-SFL | Inst | PLD,Setting Foam Large | EA | 1 |  | 49.64
Point 28 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 3 |  | 858.75
Point 28 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 29 | BKT-PI18-F-C | Rem | BKT,Pin insulator 18in,Fbrgls,Corr | EA | 1 |  | 17.37
Point 38 | CND-SB556 | Rem | CND,Stirrup Bolted 556MCM | EA | 1 |  | 9.34
Point 39 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 3 |  | 2371.68
Point 39 | ARM-3SF-GN-C | Inst | ARM,3ft Sgl. Fiberglass,Gain,Corr | EA | 1 |  | 350.53
Point 39 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 3 |  | 858.75
Point 39 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 39 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 3 |  | 238.05
Point 39 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 5 |  | 470.85
Point 39 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 39 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 4 |  | 376.68
Point 39 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 40 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 3 |  | 85.8
Point 40 | ARM-3SF-GN-C | Rem | ARM,3ft Sgl. Fiberglass,Gain,Corr | EA | 1 |  | 61.83
TOTAL | [6 empty] | 8508.77
Saturday (08/09/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | DEC-795AL-C | Inst | DEC,#477 - #795 AL,AS,Corrosive | EA | 6 |  | 1717.5
Point 27 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 39 |  | 36.27
Point 29 | ANC-DHM-8-84-T1-C | Rem | ANC,Dbl Hlx Mach,8in,84in,TpEye 1in,Cor | EA | 3 |  | 85.8
Point 29 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 212 |  | 197.16
Point 31 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 279 |  | 259.47
Point 34 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 185 |  | 172.05
Point 36 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 26 |  | 24.18
Point 38 | CON-10-AAA-1-B | Rem | CON,#1/0 AWG,Alum Alloy,One,Bare | FT | 31 |  | 28.83
Point 40 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 40 | GYF-12-D-78P-EP | Rem | GYF,1/2,Down,78in Pole mt,EyePlate | EA | 2 |  | 71.16
Point 40 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
TOTAL | [6 empty] | 2688.43