## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/16/2025 12:48 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 10580.46 |  |  | Foreman: | Brennan Talbert
| Total Line Items: | 69 |  |  | Work Request #: | 89803515
| Billing Period: | 08/11/2025 to 08/17/25 |  |  | Scope ID #: | R25P147
[5 empty] | Work Order #: | DCP0371954
[5 empty] | Customer: | AEP
Job #:
Wednesday (08/13/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 29 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 27 | ARM-4SF-GN | Rem | ARM,4.5ft Sgl.Fiberglass,Gain | EA | 2 |  | 123.66
Point 27 | BKT-PI24-F | Rem | BKT,Pin insulator 24in,Fbrgls | EA | 1 |  | 17.37
Point 27 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 27 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 260 |  | 241.8
Point 27 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 27 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 4 |  | 380.6
Point 27 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 1 |  | 95.15
Point 27 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 2 |  | 190.3
Point 27 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 27 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 27 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 27 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 28 | ARM-4SF-GN | Rem | ARM,4.5ft Sgl.Fiberglass,Gain | EA | 1 |  | 61.83
Point 28 | BKT-AC183PH-F | Rem | BKT,Riser Arrestor/Term 18in 3Ph,Fbrgls | EA | 1 |  | 17.37
Point 28 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 26.73
Point 28 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 28 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 372 |  | 345.96
Point 28 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 28 | DEG-2-SPA | Rem | DEG,#2,Slack Span Alum | EA | 1 |  | 95.15
Point 28 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 1 |  | 95.15
Point 28 | EQL-3-4-C-35-S-X | Rem | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 340
Point 28 | GYF-38-D-42P-EP | Rem | GYF,3/8,Down,42in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 28 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 28 | PAA-DI-2 | Rem | PAA, #2 DE Grip w/Thimble | EA | 1 |  | 17.2
Point 28 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 28 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 29 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 26.73
Point 29 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 29 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 29 | EQL-3-4-C-2-S-X | Rem | EQL,3 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 340
Point 27 | ARM-4SF-GN | Rem | ARM,4.5ft Sgl.Fiberglass,Gain | EA | 2 |  | 123.66
Point 27 | BKT-PI24-F | Rem | BKT,Pin insulator 24in,Fbrgls | EA | 1 |  | 17.37
Point 27 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 27 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 260 |  | 241.8
Point 27 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 27 | DEG-10-SPA | Rem | DEG,1/0,Slack Span Alum | EA | 4 |  | 380.6
Point 27 | DEG-2-PNA | Rem | DEG,#2,Primary Neutral Al | EA | 1 |  | 95.15
Point 27 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 2 |  | 190.3
Point 27 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 27 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 27 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 27 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 28 | ARM-4SF-GN | Rem | ARM,4.5ft Sgl.Fiberglass,Gain | EA | 1 |  | 61.83
Point 28 | BKT-AC183PH-F | Rem | BKT,Riser Arrestor/Term 18in 3Ph,Fbrgls | EA | 1 |  | 17.37
Point 28 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 26.73
Point 28 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 28 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 372 |  | 345.96
Point 28 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 28 | DEG-2-SPA | Rem | DEG,#2,Slack Span Alum | EA | 1 |  | 95.15
Point 28 | DEG-4-DP | Rem | DEG,#4,DuPlex | EA | 1 |  | 95.15
Point 28 | EQL-3-4-C-35-S-X | Rem | EQL,3 Ph,#4,CU Sol,350,CU Str,Xfr | EA | 1 |  | 340
Point 28 | GYF-38-D-42P-EP | Rem | GYF,3/8,Down,42in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 28 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 28 | PAA-DI-2 | Rem | PAA, #2 DE Grip w/Thimble | EA | 1 |  | 17.2
Point 28 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 28 | PIN-XAA | Rem | Pin,Crossarm,8in | EA | 2 |  | 62.16
Point 29 | BKT-CMX-50-A | Rem | BKT,Cluster Mnt (XFMR),50KVA,Alum | EA | 1 |  | 26.73
Point 29 | CND-S2 | Rem | CND,Stirrup #2 | EA | 3 |  | 18.51
Point 29 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 3 |  | 285.45
Point 29 | EQL-3-4-C-2-S-X | Rem | EQL,3 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 340
TOTAL | [6 empty] | 7713.12
Thursday (08/14/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 25 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 23 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 17 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 17 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 286.25
Point 19 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 21 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 21 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 21 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 2867.34