## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/16/2025 12:48 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 21302.29 |  |  | Foreman: | Jose Rosenbaun Jr.
| Total Line Items: | 73 |  |  | Work Request #: | 89830464
| Billing Period: | 07/21/2025 to 07/27/25 |  |  | Scope ID #: | R25P146
[5 empty] | Work Order #: | DCP0371577
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 570-1
Wednesday (07/23/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 17 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 17 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 17 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 4 |  | 220.72
Point 17 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 1 |  | 55.18
Point 17 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 5 |  | 979.15
Point 17 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 17 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 1431.25
Point 18 | DEG-2-SNA | Rem | DEG,#2,Secondary Neutral Al | EA | 1 |  | 95.15
Point 18 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 1 |  | 95.15
Point 18 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 18 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 18 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 18 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 51.6
TOTAL | [6 empty] | 3983.78
Thursday (07/24/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 25 | CNA-SWITCH | Inst | CNA,Overhead Switching | EA | 8 |  | 843.04
Point 23 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 790.56
Point 23 | SVC-10-TP-AAA-RS | Trans | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 195.83
Point 23 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 10 |  | 95.7
Point 23 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 23 | SVC-10-TP-AAA-RS | Trans | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 195.83
Point 24 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 23 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 286.25
Point 23 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 23 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 158.7
Point 23 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 23 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 6 |  | 331.08
Point 23 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 2 |  | 391.66
Point 23 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 23 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 7 |  | 2003.75
Point 24 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 10 |  | 951.5
Point 24 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 6 |  | 103.2
Point 25 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 25 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 27.6
Point 25 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 1 |  | 62.42
TOTAL | [6 empty] | 7978.01
Friday (07/25/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 16 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 13 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 15 |  | 143.55
Point 15 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 5 |  | 47.85
Point 17 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 14 |  | 133.98
Point 17 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 13 | ALB-W-18-A-1-F | Tran | ALB,Wood mnt,18 in ,Alum,1Pos, Flood | EA | 1 |  | 118.38
Point 13 | ALT-400-HFMSGL | Tran | 400W MultiVolt MH Fldlt,Slipfit,Grey,Pul | EA | 1 |  | 128.82
Point 13 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 13 | CND-S2O | Inst | CND,Stirrup #2 Open | EA | 1 |  | 27.6
Point 13 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 13 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 13 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 13 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 13 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 13 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 3 |  | 165.54
Point 13 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 4 |  | 783.32
Point 13 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 4 |  | 1145
Point 13 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 62.42
Point 13 | XFR-25-72-120-1B | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG | EA | 1 |  | 234
Point 14 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 14 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 1 |  | 6.17
Point 14 | EQL-1-4-C-2-S-X | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 116
Point 14 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 14 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 14 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 3 |  | 51.6
Point 14 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 15 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 15 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 15 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 15 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 15 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 5 |  | 275.9
Point 15 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 195.83
Point 15 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 15 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 15 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 5 |  | 1431.25
Point 16 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 16 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 16 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 4 |  | 68.8
TOTAL | [6 empty] | 9340.5