## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/26/2025 10:00 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 17995.55 |  |  | Foreman: | Karl Guidroz
| Total Line Items: | 84 |  |  | Work Request #: | 89732091
| Billing Period: | 07/28/2025 to 08/03/25 |  |  | Scope ID #:
[5 empty] | Work Order #: | DCP0371513
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 704-1
Monday (07/28/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | ARM-8SF-GN-DL-C | Inst | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 350.53
Point 01 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 01 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 572.5
Point 01 | GYF-38-D-42P-EP-C | Inst | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 158.7
Point 01 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 376.68
Point 01 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 01 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 01 | POL-45-2 | Inst | Pole,45ft,Class 2 | EA | 1 |  | 478.55
Point 01 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 02 | ARM-8SF-GN-DL-C | Rem | ARM,8ftSgl.Fiberglass,Gain,DE Light,Corr | EA | 1 |  | 61.83
Point 02 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 4 |  | 124.32
Point 02 | PIN-15-PTP-C | Rem | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 31.08
Point 02 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 13 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 1 |  | 195.83
Point 14 | POL-35-5 | Rem | Pole,35ft,Class 5 | EA | 1 |  | 198.88
Point 17 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 2 |  | 19.14
Point 15 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 3 |  | 858.75
Point 13 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 2 |  | 572.5
Point 09 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 07 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 17 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
TOTAL | [6 empty] | 5964.74
Tuesday (07/29/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 05 | EQL-3-4-C-10-S-X | Inst | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 670
Point 05 | XFR-10-72-120-1B-S | Inst | XFR,10KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 234
Point 05 | XFR-50-72-120-1B-S | Inst | XFR,50KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 234
TOTAL | [6 empty] | 1138
Wednesday (07/30/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 204 |  | 477.36
Point 02 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 61.83
Point 02 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 684 |  | 636.12
Point 02 | DEC-20AL-C | Rem | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 190.3
Point 02 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 2 |  | 71.16
Point 02 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 03 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 03 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 03 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 218 |  | 510.12
Point 03 | CON-10-AAA-3-P | Inst | CON,#1/0 AWG,Alum Alloy,Three,Poly | FT | 109 |  | 78.48
Point 03 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 188.34
Point 03 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 03 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 03 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 04 | ARM-8SF-GN-TL-C | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 61.83
Point 04 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 04 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 738 |  | 686.34
Point 04 | EQL-1-4-C-10-S-X-C | Rem | EQL,1 Ph,#4,CU Sol,1/0,CU Str,Xfr,Corr | EA | 1 |  | 116
Point 04 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 62.16
Point 04 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 198.88
Point 04 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 05 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 2 |  | 40.58
Point 05 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 2 |  | 55.2
Point 06 | ARM-8D-60S | Rem | ARM,8ft Double Wood,60in Sgl.Wd | EA | 1 |  | 73.73
Point 06 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 34.74
Point 06 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 2 |  | 12.34
Point 06 | CON-2-AAA-1-B | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Coils | FT | 74 |  | 68.82
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 74 |  | 68.82
Point 06 | EQL-3-4-C-10-S-X | Rem | EQL,3 Ph,#4,CU Sol,1/0,CU Str,Xfr | EA | 1 |  | 340
Point 06 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 06 | GYF-38-D-42P-EP-C | Rem | GYF,3/8,Down,42in Pole mt,EyePlate,Corr | EA | 1 |  | 35.58
Point 06 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 03 | CNA-TM | Rem | CNA,Trim Trees Minor | EA | 1 |  | 107.92
Point 03 | PLA-BACK | Inst | Difficult Location Equip Adder-Backyard | EA | 2 |  | 238.2
Point 01 | PLA-ROCK | Inst | PLA,Rock Hole | EA | 1 |  | 863.35
Point 03 | PLA-ROCK | Inst | PLA,Rock Hole | EA | 1 |  | 863.35
TOTAL | [6 empty] | 7811.22
Thursday (07/31/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 01 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 2 |  | 110.36
Point 01 | SWI-15-CO1-100-H | Inst | SWI,15kV,Line Cutout 1PH,100A,Hook | EA | 2 |  | 124.84
Point 02 | ARM-8SF-GN-TL | Rem | ARM,8ft Sgl.Fiberglass,Gain,Tangent LD | EA | 1 |  | 61.83
Point 02 | BKT-ARML-A-C | Rem | BKT,Crossarm inLin,Alum,Corr | EA | 2 |  | 34.74
Point 02 | CND-S2O | Rem | CND,Stirrup #2 Open | EA | 2 |  | 12.34
Point 02 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 03 | CND-S10 | Inst | CND,Stirrup 1/0 | EA | 1 |  | 27.6
Point 03 | EQL-1-4-C-10-S-X-C | Inst | EQL,1 Ph,#4,CU Sol,1/0,CU Str,Xfr,Corr | EA | 1 |  | 223
Point 03 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 03 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 03 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 62.42
Point 03 | XFR-25-72-120-1B-S | Inst | XFR,25KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 234
Point 04 | CND-S10 | Rem | CND,Stirrup 1/0 | EA | 1 |  | 6.17
Point 04 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 62.16
Point 04 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 05 | ALB-W-18-A-1-F | Tran | ALB,Wood mnt,18 in ,Alum,1Pos, Flood | EA | 1 |  | 118.38
Point 05 | ALT-LED-FL-76-18L-SF-BK | Tran | 18.8kL LED,7x6 Slipfit,cable-back ,Flood | EA | 1 |  | 128.82
Point 05 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 124.84
Point 06 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 1 |  | 31.08
Point 06 | SAA-DI-10-C | Rem | SAA,Dead End I Bolt,1/0,Corr | EA | 2 |  | 34.4
Point 06 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 53.04
Point 01 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 286.25
Point 05 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 1 |  | 286.25
Point 18 | SVD-SG10 | Inst | SVD, Service Grip, 1/0 | EA | 3 |  | 858.75
TOTAL | [6 empty] | 3081.59