## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/26/2025 10:01 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 25332.76 |  |  | Foreman: | Bryan Rodriguez
| Total Line Items: | 125 |  |  | Work Request #: | 89819201
| Billing Period: | 08/11/2025 to 08/17/25 |  |  | Scope ID #:
[5 empty] | Work Order #: | DCP0371852
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 887-1
Wednesday (08/13/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 03 | ANC-DSC-16-96-D1 | Inst | ANC,Disc,16in,96in,Db Eye 1in | EA | 1 |  | 790.56
Point 03 | ANC-SHM-10-84-D1 | Rem | ANC,Sgl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 28.6
Point 03 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 79.35
Point 03 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 05 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 05 | DEG-2-SNA | Inst | DEG,#2,Secondary Neutral Al | EA | 4 |  | 1145
55 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 56 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 55 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 05 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 05 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 05 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 05 | SVC-2-TP-ALA-RS | Inst | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 4 |  | 1024.48
Point 05 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 4 |  | 220.72
Point 55 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 55 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 55 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 55 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 56 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 40 |  | 37.2
Point 56 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 56 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 55 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 106 |  | 248.04
Point 56 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 40 |  | 37.2
Point 56 | CON-4-CHD-1-B | Inst | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 40 |  | 93.6
Point 56 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 55 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 55 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 55 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 55 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 56 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 40 |  | 37.2
Point 56 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 56 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 198.88
Point 56 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 57 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 2 |  | 110.36
Point 57 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 3 |  | 587.49
TOTAL | [6 empty] | 9091.26
Thursday (08/14/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 57 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
57 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 9 |  | 86.13
Point 58 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
59 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 51 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 2 |  | 40.58
Point 51 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 2 |  | 572.5
Point 51 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 51 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 158.7
Point 51 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 4 |  | 220.72
Point 57 | DEG-2-SNA | Inst | DEG,#2,Secondary Neutral Al | EA | 3 |  | 858.75
Point 57 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 57 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 57 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 3 |  | 165.54
Point 57 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 3 |  | 587.49
Point 58 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 31 |  | 28.83
Point 58 | DEG-2-SNA | Rem | DEG,#2,Secondary Neutral Al | EA | 1 |  | 95.15
Point 58 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 58 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 59 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 59 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 27.6
Point 59 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 2 |  | 572.5
Point 59 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 2 |  | 572.5
Point 59 | EQL-1-4-C-2-S-X | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 223
Point 59 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 59 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 79.35
Point 59 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 2 |  | 110.36
Point 59 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 2 |  | 110.36
Point 59 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 62.42
Point 60 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 60 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 60 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 95.15
Point 60 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 1 |  | 95.15
Point 60 | EQL-1-4-C-2-S-X | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 116
Point 60 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 60 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 2 |  | 34.4
Point 60 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 2 |  | 34.4
Point 60 | XCO-15-100-7 | Rem | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 26.52
Point 51 | ANC-DHM-10-84-D1 | Inst | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 2 |  | 435.06
Point 51 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 51 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 57 | CON-10-AAA-1-B-REEL | Inst | CON,#1/0 AWG,Alum Alloy,One,Bare,Reel | FT | 65 |  | 152.1
Point 57 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 94.17
Point 57 | SVD-3-CV | Inst | SVD,3 inch,Clevis | EA | 3 |  | 165.54
Point 58 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 31 |  | 28.83
Point 58 | CON-4-CHD-1-B | Inst | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 38 |  | 88.92
Point 58 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 1 |  | 31.08
Point 59 | ANC-DHM-10-84-D1 | Inst | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 217.53
Point 59 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 60 | ANC-DHM-10-84-D1 | Rem | ANC,Dbl Hlx Mach,10in,84in,Db Eye 1in | EA | 1 |  | 28.6
Point 51 | CNC-SNB-40 | Inst | CNC,Splice Non-Tension Bare,#1/0-#4/0 | EA | 2 |  | 40.58
Point 51 | CON-2-AAA-3-P | Inst | CON,#2 AWG,Alum Alloy,Three,Poly | FT | 43 |  | 30.96
Point 51 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 2 |  | 572.5
Point 51 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 1 |  | 286.25
Point 51 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 2 |  | 158.7
Point 51 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 4 |  | 220.72
Point 57 | DEG-2-SNA | Inst | DEG,#2,Secondary Neutral Al | EA | 3 |  | 858.75
Point 57 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 57 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 58 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 31 |  | 28.83
Point 58 | DEG-2-SNA | Rem | DEG,#2,Secondary Neutral Al | EA | 4 |  | 380.6
Point 58 | PIN-15-PTP-K | Rem | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 31.08
Point 58 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 59 | BKT-AC18-F | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 31.72
Point 59 | CND-S620A | Inst | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 27.6
Point 59 | DEC-20AL | Inst | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 286.25
Point 59 | DEG-10-PNA | Inst | DEG,1/0,Primary Neutral Al | EA | 1 |  | 286.25
Point 59 | EQL-1-4-C-2-S-X | Inst | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 223
Point 59 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 59 | GYF-38-D-78P-EP | Inst | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 79.35
Point 59 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 59 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 2 |  | 110.36
Point 59 | XCO-15-100-7 | Inst | XCO,15kVPolymer,100 Amp,7kA | EA | 1 |  | 62.42
Point 60 | BKT-AC18-F | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls | EA | 1 |  | 17.37
Point 60 | CND-S620A | Rem | CND,Stirrup #6-2/0 AL or ACSR | EA | 1 |  | 6.17
Point 60 | DEC-20AL | Rem | DEC,#4 - #2/0 AA,AL,AS | EA | 1 |  | 95.15
Point 60 | DEG-4-PNA | Rem | DEG,#4,Primary Neutral Al | EA | 1 |  | 95.15
Point 60 | EQL-1-4-C-2-S-X | Rem | EQL,1 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 116
Point 60 | GYF-38-D-78P-EP | Rem | GYF,3/8,Down,78in Pole mt,EyePlate | EA | 1 |  | 35.58
Point 60 | SAA-3-CV | Rem | SAA,3 inch,Clevis | EA | 1 |  | 17.2
Point 60 | SAA-DE-20 | Rem | SAA,DE Clamp #4-2/0 | EA | 2 |  | 34.4
TOTAL | [6 empty] | 14739.05
Friday (08/15/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 07 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 07 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 07 | SAA-3-CV | Inst | SAA,3 inch,Clevis | EA | 1 |  | 55.18
Point 07 | SAA-DE-20 | Inst | SAA,DE Clamp #4-2/0 | EA | 1 |  | 55.18
Point 11 | CON-10-AAA-3-P | Inst | CON,#1/0 AWG,Alum Alloy,Three,Poly | FT | 79 |  | 56.88
Point 11 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 11 | PIN-15-PTP-K | Inst | Pin,15kV,Pole top,Contaminated | EA | 1 |  | 94.17
Point 11 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 11 | SAA-CL-336 | Inst | SAA,Susp Clamp Light Angle,336 | EA | 1 |  | 55.18
Point 11 | SVC-2-TP-ALA-RS | Tran | SVC,#2 AWG,Trip,Alum/Aly Neut,Res | EA | 2 |  | 391.66
TOTAL | [6 empty] | 1502.45