## Work Report
WEEKLY UNITS COMPLETED PER SCOPE ID
Report Generated On: 08/26/2025 10:01 AM
| REPORT SUMMARY |  |  |  | REPORT DETAILS
| Total Billed Amount: | 18819.02 |  |  | Foreman: | Marco Gonzalez
| Total Line Items: | 87 |  |  | Work Request #: | 89877351
| Billing Period: | 07/28/2025 to 08/03/25 |  |  | Scope ID #:
[5 empty] | Work Order #: | DCP0371566
[5 empty] | Customer: | AEP
[5 empty] | Job #: | 568-2
Monday (07/28/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 27 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 28 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 01 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 03 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 05 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 05 | DEC-20AL-C | Inst | DEC,#4 - #2/0 AA,AL,AS,Corrosive | EA | 2 |  | 572.5
Point 07 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 09 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 12 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 14 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 16 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 20 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 22 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 27 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 27 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 28 | ARM-8S-60S-C | Rem | ARM,8ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 28 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 121 |  | 112.53
Point 28 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 28 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 28 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
TOTAL | [6 empty] | 4417.16
Tuesday (07/29/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 17 | PLA-DLOC | Inst | PLA,Difficult Location | EA | 1 |  | 119.1
Point 17 | PLA-CUT | Inst | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 17 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 17 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 17 | BKT-AC18-F-C | Inst | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 63.44
Point 17 | EQL-3-4-C-2-S-X | Inst | EQL,3 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 670
Point 17 | GND-CR-4 | Inst | GND,Cu Clad Rod,#4 | EA | 1 |  | 110.74
Point 17 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 188.34
Point 17 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 17 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 17 | SAA-3-CV-C | Inst | SAA,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 17 | SAA-DE-20-C | Inst | SAA,DE Clamp #4-2/0, Corr. | EA | 1 |  | 55.18
Point 17 | SAA-SP-336 | Inst | SAA,Spreader Bkt, 336MCM Max | EA | 1 |  | 55.18
Point 17 | SVC-2-TP-AAA-RS | Tran | SVC, #2 AWG ,Trip,Alum/Alloy Neut,RS | EA | 1 |  | 195.83
Point 17 | SVD-3-CV-C | Inst | SVD,3 inch,Clevis,Corr | EA | 1 |  | 55.18
Point 17 | SVD-SG2 | Inst | SVD,Service Grip,#2 | EA | 1 |  | 286.25
Point 17 | XCO-27-100-8-C | Inst | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 124.84
Point 17 | XFR-10-72-120-1B-S | Tran | XFR,10KVA,7.2/12.4kVY,120/240,1BG,SS | EA | 1 |  | 203
Point 18 | ARM-8S-60S-C | Rem | ARM,8ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 18 | BKT-AC18-F-C | Rem | BKT,Arrestor/CO 18in (1Ph),Fbrgls,Corr | EA | 2 |  | 34.74
Point 18 | EQL-3-4-C-2-S-X | Rem | EQL,3 Ph,#4,CU Sol,#2,CU Str,Xfr | EA | 1 |  | 340
Point 18 | GND-CR-4 | Rem | GND,Cu Clad Rod,#4 | EA | 1 |  | 60.43
Point 18 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 2 |  | 62.16
Point 18 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 2 |  | 62.16
Point 18 | POL-40-5 | Rem | Pole,40ft,Class 5 | EA | 1 |  | 198.88
Point 18 | SAA-3-CV-C | Rem | SAA,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 18 | SAA-DE-20-C | Rem | SAA,DE Clamp #4-2/0, Corr. | EA | 1 |  | 17.2
Point 18 | SVD-3-CV-C | Rem | SVD,3 inch,Clevis,Corr | EA | 1 |  | 17.2
Point 18 | SVD-SG2 | Rem | SVD,Service Grip,#2 | EA | 1 |  | 95.15
Point 18 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 2 |  | 53.04
Point 19 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
TOTAL | [6 empty] | 5434.9
Wednesday (07/30/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 25 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 25 | SVC-10-TP-AAA-RS | Inst | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 256.12
Point 25 | DEG-10-SNA | Inst | DEG,1/0,Secondary Neutral Al | EA | 2 |  | 572.5
Point 25 | DEG-10-SNA | Rem | DEG,1/0,Secondary Neutral Al | EA | 2 |  | 190.3
Point 25 | SVC-10-TP-AAL-RS | Rem | SVC,1/0,Trip,All Alum,Res | EA | 1 |  | 48.07
Point 25 | CNC-HTA-10 | Inst | Compression connector H-Tap Assembly 1/0 | EA | 7 |  | 66.99
TOTAL | [6 empty] | 1782.51
Thursday (07/31/2025)
Point Number | Billable Unit Code | Work Type | Unit Description | Unit of Measure | # Units | N/A | Pricing
Point 26 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 29 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 29 | PLA-HDIG | Inst | PLA,Hand Dig or Additional Excavation | EA | 1 |  | 648.53
Point 30 | PLA-CUT | Rem | PLA,Cut Off Pole Top | EA | 1 |  | 216.17
Point 02 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 78 |  | 72.54
Point 04 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 98 |  | 91.14
Point 06 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 172 |  | 159.96
Point 08 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 103 |  | 95.79
Point 10 | CON-2-AAA-1-B-REEL | Rem | CON,#2 AWG,Alum Alloy,One,Bare,Reels | FT | 119 |  | 110.67
Point 16 | CON-4-AAA-1-B | Rem | CON,#4 AWG,Alum Alloy,One,Bare | FT | 276 |  | 256.68
Point 16 | CON-4-CHD-1-B | Rem | CON,#4,CU Hard Dr,One,Bare(Rem+Spl only) | FT | 495 |  | 460.35
Point 18 | CON-4-AAA-1-B | Rem | CON,#4 AWG,Alum Alloy,One,Bare | FT | 114 |  | 106.02
Point 20 | CON-4-AAA-1-B | Rem | CON,#4 AWG,Alum Alloy,One,Bare | FT | 246 |  | 228.78
Point 25 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 25 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 25 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 25 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
Point 26 | ARM-8S-60S-C | Rem | ARM,8ft Single Wood,60in Sgl.Wd,Corr | EA | 1 |  | 61.83
Point 26 | INS-15-P-S-C | Rem | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 93.24
Point 26 | PIN-XAL-C | Rem | Pin,Crossarm Light,Corrosive | EA | 3 |  | 93.24
Point 26 | XCO-27-100-8-C | Rem | XCO,27kV Polymer,100 Amp,8kA, Corrosive | EA | 1 |  | 26.52
Point 27 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 27 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 3 |  | 282.51
Point 27 | POL-40-2 | Inst | Pole,40ft,Class 2 | EA | 1 |  | 478.55
Point 28 | POL-40-4 | Rem | Pole,40ft,Class 4 | EA | 1 |  | 198.88
Point 29 | ARM-8SF-GN-TL-C | Inst | ARM,8ft Sgl.Fiberglass,Gain,Tang LD,Corr | EA | 1 |  | 350.53
Point 29 | INS-15-P-S-C | Inst | INS,15kV,Pin,Silicon Polymer,Corr | EA | 3 |  | 282.51
Point 29 | PIN-15-PTP-C | Inst | Pin,15kV,Pole top,Corrosive | EA | 1 |  | 94.17
Point 29 | PIN-XAL-C | Inst | Pin,Crossarm Light,Corrosive | EA | 2 |  | 188.34
Point 29 | POL-40-1 | Inst | Pole,40ft,Class 1 | EA | 1 |  | 478.55
TOTAL | [6 empty] | 7184.45